## Sheet1
8th Floor IDF (122 C East)
IDF BUILDOUT
NOTES
RACKS MOUNTED
CABLE TRAY INSTALLED
DATA TERMINATED
BONDING
| FIBER TERMINATED |  | PRIMARY | SECONDARY
| FIBER TESTED |  | PRIMARY | SECONDARY
25 PAIR TERMINATED
25 PAIR TESTED
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R2-DATA-PP-A | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/5/1 | 1 | 8-213-05A
| 2 | 8-213-05B
| 3 | 8-213-05C
R2/SW1/5/2 | 4 | 8-213-07A
| 5 | 8-213-07B
R2/SW1/5/3 | 6 | 8-213-01A
R2/SW1/2/9 | 7 | 8-213-01B
R2/SW1/5/4 | 8 | 8-213-03A
R2/SW1/2/10 | 9 | 8-213-03B
R2/SW1/5/5 | 10 | 8-211-01A
| 11 | 8-211-01B
| 12 | 8-211-01C
R2/SW1/1/1 | 13 | 8-211-03A
R2/SW1/7/42 | 14 | 8-211-03B
| 15 | 8-211-03C
| 16 | 8-211-03D
PP - PORT 6 / VG - PORT 37 | 17 | 8-211-05A
| 18 | 8-211-05B
| 19 | 8-211-05C
R2/SW1/5/26 | 20 | 8-211-07A
| 21 | 8-211-07B
R2/SW1/2/48 | 22 | 8-211-07C
| 23 | 8-211-07D
R2/SW1/5/27 | 24 | 8-211-09A
| 25 | 8-211-09B
| 26 | 8-211-09C
R2/SW1/5/6 | 27 | 8-211B-01A
| 28 | 8-211B-01B
| 29 | 8-211B-01C
R2/SW1/5/7 | 30 | 8-209-01A
| 31 | 8-209-01B
| 32 | 8-209-01C
R2/SW1/1/2 | 33 | 8-209-03A
R2/SW1/7/23 | 34 | 8-209-03B
| 35 | 8-209-03C
| 36 | 8-209-03D
PP - PORT 7 / VG - PORT 38 | 37 | 8-209-05A
| 38 | 8-209-05B
| 39 | 8-209-05C
R2/SW1/5/29 | 40 | 8-209-07A
| 41 | 8-209-07B
R2/SW1/2/47 | 42 | 8-209-07C
| 43 | 8-209-07D
R2/SW1/5/30 | 44 | 8-209-09A
| 45 | 8-209-09B
| 46 | 8-209-09C
R2/SW1/5/31 | 47 | 8-209B-01A
| 48 | 8-209B-01B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-B | R2-DATA-PP-B | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-209B-01C |  |  |  |  | 8-122C
R2/SW1/5/8 | 2 | 8-207-01A
| 3 | 8-207-01B
| 4 | 8-207-01C
R2/SW1/1/3 | 5 | 8-207-03A
R2/SW1/7/10 | 6 | 8-207-03B
| 7 | 8-207-03C
| 8 | 8-207-03D
PP - PORT 8 / VG - PORT 39 | 9 | 8-207-05A
| 10 | 8-207-05B
| 11 | 8-207-05C
R2/SW1/5/10 | 12 | 8-207-07A
| 13 | 8-207-07B
R2/SW1/2/46 | 14 | 8-207-07C
| 15 | 8-207-07D
R2/SW1/5/32 | 16 | 8-207-09A
| 17 | 8-207-09B
| 18 | 8-207-09C
R2/SW1/5/33 | 19 | 8-207B-01A
| 20 | 8-207B-01B
| 21 | 8-207B-01C
R2/SW1/5/34 | 22 | CORR.8-200Z-01A
| 23 | CORR.8-200Z-01B
R2/SW1/5/35 | 24 | CORR.8-200Z-03A
| 25 | CORR.8-200Z-03B
R2/SW1/5/11 | 26 | 8-205-01A
| 27 | 8-205-01B
| 28 | 8-205-01C
R2/SW1/1/4 | 29 | 8-205-03A
R2/SW1/7/11 | 30 | 8-205-03B
| 31 | 8-205-03C
| 32 | 8-205-03D
PP - PORT 9 / VG- PORT 40 | 33 | 8-205-05A
| 34 | 8-205-05B
| 35 | 8-205-05C
R2/SW1/5/13 | 36 | 8-205-07A
| 37 | 8-205-07B
R2/SW1/2/45 | 38 | 8-205-07C
| 39 | 8-205-07D
R2/SW1/5/36 | 40 | 8-205-09A
| 41 | 8-205-09B
| 42 | 8-205-09C
R2/SW1/5/37 | 43 | 8-205B-01A
| 44 | 8-205B-01B
| 45 | 8-205B-01C
R2/SW1/5/38 | 46 | 8-203-01A
| 47 | 8-203-01B
| 48 | 8-203-01C
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-C | R2-DATA-PP-C | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/7/12 | 1 | 8-203-03A |  |  |  |  | 8-122C
R2/SW1/1/5 | 2 | 8-203-03B
| 3 | 8-203-03C
| 4 | 8-203-03D
PP - PORT 10 / VG - PORT 41 | 5 | 8-203-05A
| 6 | 8-203-05B
| 7 | 8-203-05C
R2/SW1/5/15 | 8 | 8-203-07A
| 9 | 8-203-07B
R2/SW1/2/1 | 10 | 8-203-07C
| 11 | 8-203-07D
R2/SW1/5/16 | 12 | 8-203-09A
| 13 | 8-203-09B
| 14 | 8-203-09C
R2/SW1/5/39 | 15 | 8-203B-01A
| 16 | 8-203B-01B
| 17 | 8-203B-01C
R2/SW1/5/40 | 18 | 8-201-01A
| 19 | 8-201-01B
| 20 | 8-201-01C
R2/SW1/1/6 | 21 | 8-201-03A
R2/SW1/7/41 | 22 | 8-201-03B
| 23 | 8-201-03C
| 24 | 8-201-03D
PP - PORT 11 / VG - PORT 42 | 25 | 8-201-05A
| 26 | 8-201-05B
| 27 | 8-201-05C
R2/SW1/5/18 | 28 | 8-201-07A
| 29 | 8-201-07B
R2/SW1/2/2 | 30 | 8-201-07C
| 31 | 8-201-07D
R2/SW1/5/19 | 32 | 8-201-09A
| 33 | 8-201-09B
| 34 | 8-201-09C
R2/SW1/5/20 | 35 | 8-201B-01A
| 36 | 8-201B-01B
| 37 | 8-201B-01C
R2/SW1/5/41 | 38 | 8-100A-01A
R2/SW1/5/42 | 39 | 8-117-01A
| 40 | 8-117-01B
| 41 | 8-117-01C
R2/SW1/1/7 | 42 | 8-117-03A
R2/SW1/3/40 | 43 | 8-117-03B
| 44 | 8-117-03C
| 45 | 8-117-03D
R2/SW1/5/43 | 46 | 8-117-05A
| 47 | 8-117-05B
PP - PORT 13/ VG- PORT 44 | 48 | 8-117-05C
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-D | R2-DATA-PP-D | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/5/21 | 1 | 8-117-07A |  |  |  |  | 8-122C
| 2 | 8-117-07B
R2/SW1/2/3 | 3 | 8-117-07C
| 4 | 8-117-07D
R2/SW1/5/22 | 5 | 8-117-09A
| 6 | 8-117-09B
| 7 | 8-117-09C
R2/SW1/5/23 | 8 | 8-117B-01A
| 9 | 8-117B-01B
| 10 | 8-117B-01C
R2/SW1/5/24 | 11 | 8-115-01A
| 12 | 8-115-01B
| 13 | 8-115-01C
R2/SW1/1/8 | 14 | 8-115-03A
R2/SW1/7/38 | 15 | 8-115-03B
| 16 | 8-115-03C
| 17 | 8-115-03D
PP - PORT 14 / VG - PORT 45 | 18 | 8-115-05A
| 19 | 8-115-05B
| 20 | 8-115-05C
R2/SW1/5/45 | 21 | 8-115-07A
| 22 | 8-115-07B
R2/SW1/2/44 | 23 | 8-115-07C
| 24 | 8-115-07D
R2/SW1/6/1 | 25 | 8-115-09A
| 26 | 8-115-09B
| 27 | 8-115-09C
R2/SW1/6/2 | 28 | 8-115B-01A
| 29 | 8-115B-01B
| 30 | 8-115B-01C
R2/SW1/6/3 | 31 | 8-113-01A
| 32 | 8-113-01B
| 33 | 8-113-01C
R2/SW1/1/9 | 34 | 8-113-03A
R2/SW1/7/20 | 35 | 8-113-03B
| 36 | 8-113-03C
| 37 | 8-113-03D
PP - PORT 15 / VG - PORT 46 | 38 | 8-113-05A
| 39 | 8-113-05B
| 40 | 8-113-05C
R2/SW1/5/47 | 41 | 8-113-07A
| 42 | 8-113-07B
R2/SW1/2/43 | 43 | 8-113-07C
| 44 | 8-113-07D
R2/SW1/5/48 | 45 | 8-113-09A
| 46 | 8-113-09B
| 47 | 8-113-09C
R2/SW1/6/25 | 48 | 8-113B-01A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-E | R2-DATA-PP-E | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-113B-01B |  |  |  |  | 8-122C
| 2 | 8-113B-01C
R2/SW1/2/42 | 3 | 8-111-01A
| 4 | 8-111-01B
| 5 | 8-111-01C
R2/SW1/6/10 | 6 | 8-111-03A
R2/SW1/7/21 | 7 | 8-111-03B
| 8 | 8-111-03C
| 9 | 8-111-03D
PP - PORT 16 / VG - PORT 47 | 10 | 8-111-05A
| 11 | 8-111-05B
| 12 | 8-111-05C
R2/SW1/6/26 | 13 | 8-111-07A
| 14 | 8-111-07B
R2/SW1/6/4 | 15 | 8-111-07C
| 16 | 8-111-07D
R2/SW1/6/27 | 17 | 8-111-09A
| 18 | 8-111-09B
| 19 | 8-111-09C
R2/SW1/6/28 | 20 | 8-111B-01A
| 21 | 8-111B-01B
| 22 | 8-111B-01C
R2/SW1/6/29 | 23 | CORR.8-110Z-01A
| 24 | CORR.8-110Z-01B
R2/SW1/6/6 | 25 | 8-109-01A
| 26 | 8-109-01B
| 27 | 8-109-01C
R2/SW1/1/11 | 28 | 8-109-03A
R2/SW1/7/22 | 29 | 8-109-03B
| 30 | 8-109-03C
| 31 | 8-109-03D
PP - PORT 17 / VG - PORT 48 | 32 | 8-109-05A
| 33 | 8-109-05B
| 34 | 8-109-05C
R2/SW1/6/87 | 35 | 8-109-07A
| 36 | 8-109-07B
R2/SW1/2/41 | 37 | 8-109-07C
| 38 | 8-109-07D
R2/SW1/6/30 | 39 | 8-109-09A
| 40 | 8-109-09B
| 41 | 8-109-09C
R2/SW1/6/31 | 42 | 8-109B-01A
| 43 | 8-109B-01B
| 44 | 8-109B-01C
R2/SW1/6/32 | 45 | 8-107-01A
| 46 | 8-107-01B
| 47 | 8-107-01C
R2/SW1/1/7 | 48 | 8-107-03A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-F | R2-DATA-PP-F | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/7/13 | 1 | 8-107-03B |  |  |  |  | 8-122C
| 2 | 8-107-03C
| 3 | 8-107-03D
PP - PORT 18 / VG - PORT 49 | 4 | 8-107-05A
| 5 | 8-107-05B
| 6 | 8-107-05C
R2/SW1/6/10 | 7 | 8-107-07A
| 8 | 8-107-07B
R2/SW1/2/4 | 9 | 8-107-07C
| 10 | 8-107-07D
R2/SW1/6/11 | 11 | 8-107-09A
| 12 | 8-107-09B
| 13 | 8-107-09C
R2/SW1/6/33 | 14 | 8-107B-01A
| 15 | 8-107B-01B
| 16 | 8-107B-01C
R2/SW1/6/34 | 17 | 8-105-01A
| 18 | 8-105-01B
| 19 | 8-105-01C
R2/SW1/1/13 | 20 | 8-105-03A
R2/SW1/7/39 | 21 | 8-105-03B
| 22 | 8-105-03C
| 23 | 8-105-03D
PP - PORT 19 / VG - PORT 50 | 24 | 8-105-05A
| 25 | 8-105-05B
| 26 | 8-105-05C
R2/SW1/6/12 | 27 | 8-105-07A
| 28 | 8-105-07B
R2/SW1/2/11 | 29 | 8-105-07C
| 30 | 8-105-07D
R2/SW1/6/13 | 31 | 8-105-09A
| 32 | 8-105-09B
| 33 | 8-105-09C
R2/SW1/6/14 | 34 | 8-105B-01A
| 35 | 8-105B-01B
| 36 | 8-105B-01C
R2/SW1/6/36 | 37 | 8-202-01A
| 38 | 8-202-01B
| 39 | 8-202-01C
R2/SW1/6/37 | 40 | 8-204-03A
| 41 | 8-204-03B
| 42 | 8-204-03C |  |  |  | SPARE
R2/SW1/6/38 | 43 | 8-204-01A
| 44 | 8-204-01B
| 45 | 8-204-01C
R2/SW1/6/39 | 46 | 8-206-01A
| 47 | 8-206-01B
| 48 | 8-206-01C
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-G | R2-DATA-PP-G | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/6/15 | 1 | 8-206-03A |  |  |  |  | 8-122C
| 2 | 8-206-03B
| 3 | 8-206-03C
R2/SW1/6/16 | 4 | 8-206-05A
| 5 | 8-206-05B
| 6 | 8-206-05C
R2/SW1/6/17 | 7 | 8-206-07A
R2/SW1/2/6 | 8 | 8-206-07B
| 9 | 8-206-07C
R2/SW1/6/18 | 10 | 8-206-09A
R2/SW1/2/7 | 11 | 8-206-09B
| 12 | 8-206-09C
R2/SW1/6/40 | 13 | 8-206-11A
R2/SW1/2/40 | 14 | 8-206-11B
R2/SW1/6/41 | 15 | 8-206-13A
| 16 | 8-206-13B
| 17 | 8-206-13C
R2/SW1/6/42 | 18 | 8-206-15A
| 19 | 8-206-15B
| 20 | 8-206-15C
R2/SW1/6/43 | 21 | 8-206-17A
| 22 | 8-206-17B
| 23 | 8-206-17C
R2/SW1/6/44 | 24 | 8-206-19A
| 25 | 8-206-19B
| 26 | 8-206-19C
R2/SW1/6/19 | 27 | 8-206-21A
R2/SW1/2/5 | 28 | 8-206-21B
| 29 | 8-206-21C
R2/SW1/6/20 | 30 | 8-206-23A
| 31 | 8-206-23B
| 32 | 8-206-23C
R2/SW1/6/21 | 33 | 8-206-25A
| 34 | 8-206-25B
| 35 | 8-206-25C
R2/SW1/6/22 | 36 | 8-206-27A
| 37 | 8-206-27B
| 38 | 8-206-27C
R2/SW1/6/45 | 39 | 8-206-29A
| 40 | 8-206-29B
| 41 | 8-206-29C
R2/SW1/6/46 | 42 | 8-206-31A
| 43 | 8-206-31B
| 44 | 8-206-31C
R2/SW1/6/47 | 45 | 8-206-33A
| 46 | 8-206-33B
| 47 | 8-206-33C
R2/SW1/6/48 | 48 | 8-212-01A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-H | R2-DATA-PP-H | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/2/8 | 1 | 8-212-01B |  |  |  |  | 8-122C
| 2 | 8-212-01C
R2/SW1/6/23 | 3 | 8-212-03A
| 4 | 8-212-03B
| 5 | 8-212-03C
R2/SW1/6/24 | 6 | 8-212-05A
| 7 | 8-212-05B
| 8 | 8-212-05C
R3/SW1/6/4 | 9 | 8-212-07A
| 10 | 8-212-07B
| 11 | 8-212-07C
R3/SW1/6/5 | 12 | 8-212-09A
| 13 | 8-212-09B
| 14 | 8-212-09C
R3/SW1/6/46 | 15 | 8-214-01A
PP - PORT 12 / VG - PORT 43 | 16 | 8-214-01B
R3/SW1/6/45 | 17 | 8-214G-01A
| 18 | 8-214G-01B
| 19 | 8-214G-01C
R3/SW1/6/44 | 20 | 8-214F-01A
| 21 | 8-214F-01B
| 22 | 8-214F-01C
R3/SW1/6/43 | 23 | 8-214F-03A
| 24 | 8-214F-03B
| 25 | 8-214F-03C
R3/SW1/6/6 | 26 | 8-214D-01A
| 27 | 8-214D-01B
| 28 | 8-214D-01C
R3/SW1/6/7 | 29 | 8-214B-01A
| 30 | 8-214B-01B
| 31 | 8-214B-01C
R3/SW1/6/8 | 32 | 8-214A-01A
| 33 | 8-214A-01B
| 34 | 8-214A-01C
R3/SW1/6/9 | 35 | 8-212A-01A
| 36 | 8-212A-01B
| 37 | 8-212A-01C
R3/SW1/6/42 | 38 | 8-212A-03A
| 39 | 8-212A-03B
| 40 | 8-212A-03C |  |  |  | SPARE
R3/SW1/6/40 | 41 | 8-212A-05A
| 42 | 8-212A-05B
| 43 | 8-212A-05C
R3/SW1/6/39 | 44 | 8-212A-07A
| 45 | 8-212A-07B
| 46 | 8-212A-07C
R2/SW1/7/32 | 47 | 8-212A-09A
| 48 | 8-212A-09B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-I | R3-DATA-PP-A | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-212A-09C |  |  |  |  | 8-122C
R3/SW1/5/1 | 2 | 8-212A-11A
| 3 | 8-212A-11B
| 4 | 8-212A-11C
R3/SW1/5/2 | 5 | CORR.8-220Z-01A
| 6 | CORR.8-220Z-01B
R2/SW1/5/3 | 7 | 8-318-01A
| 8 | 8-318-01B
R3/SW1/5/4 | 9 | CORR.8-310Z-01A
| 10 | CORR.8-310Z-01B
R3/SW1/5/5 | 11 | CORR.8-310Z-03A
| 12 | CORR.8-310Z-03B
R3/SW1/5/25 | 13 | CORR.8-310Z-05A
| 14 | CORR.8-310Z-05B
R3/SW1/5/26 | 15 | 8-314-03A
| 16 | 8-314-03B
R3/SW1/5/27 | 17 | 8-314-01A
| 18 | 8-314-01B
| 19 | 8-314-01C
R3/SW1/5/28 | 20 | 8-312-01A
R3/SW1/5/29 | 21 | 8-308-01A
| 22 | 8-308-01B
| 23 | 8-308-01C
R3/SW1/5/30 | 24 | 8-308-03A
| 25 | 8-308-03B
| 26 | 8-308-03C
R3/SW1/5/6 | 27 | 8-308-05A
| 28 | 8-308-05B
| 29 | 8-308-05C
R3/SW1/5/7 | 30 | 8-306-01A
| 31 | 8-306-01B
| 32 | 8-306-01C
R3/SW1/5/8 | 33 | 8-310A-01A
| 34 | 8-310A-01B
| 35 | 8-310A-01C
R3/SW1/5/9 | 36 | 8-302-01A
| 37 | 8-302-01B
| 38 | 8-302-01C
| 39 | 8-302- |  |  |  | MISSING
R3/SW1/5/31 | 40 | 8-302-03A
R3/SW1/6/37 | 41 | 8-302-03B
| 42 | 8-302-03C
R3/SW1/5/32 | 43 | 8-302-05A
R3/SWE1/6/36 | 44 | 8-302-05B
| 45 | 8-302-05C
R3/SW1/5/33 | 46 | 8-245-01A
R3/SW1/5/34 | 47 | 8-301B-01A
| 48 | 8-301B-01B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-J | R3-DATA-PP-B | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-301B-01C |  |  |  |  | 8-122C
R3/SW1/5/10 | 2 | 8-301-01A
| 3 | 8-301-01B
| 4 | 8-301-01C
R3/SW1/1/1 | 5 | 8-301-03A
R2/SW1/7/18 | 6 | 8-301-03B
| 7 | 8-301-03C
| 8 | 8-301-03D
PP - PORT 5 / VG - PORT 36 | 9 | 8-301-05A
| 10 | 8-301-05B
| 11 | 8-301-05C
R3/SW1/5/12 | 12 | 8-301-07A
| 13 | 8-301-07B
R3/SW1/6/38 | 14 | 8-301-07C
| 15 | 8-301-07D
R3/SW1/5/35 | 16 | 8-301-09A
| 17 | 8-301-09B
| 18 | 8-301-09C
R3/SW1/5/36 | 19 | 8-303B-01A
| 20 | 8-303B-01B
| 21 | 8-303B-01C
R3/SW1/5/37 | 22 | 8-303-01A
| 23 | 8-303-01B
| 24 | 8-303-01C
R3/SW1/1/2 | 25 | 8-303-03A
R2/SW1/7/19 | 26 | 8-303-03B
| 27 | 8-303-03C
| 28 | 8-303-03D
PP - PORT 4 / VG - PORT 35 | 29 | 8-303-05A
| 30 | 8-303-05B
R3/SW1/5/14 | 31 | 8-303-07A
| 32 | 8-303-07B
R3/SW1/6/10 | 33 | 8-303-07C
| 34 | 8-303-07D
R3/SW1/5/15 | 35 | 8-303-09A
| 36 | 8-303-09B
| 37 | 8-303-09C
R3/SW1/5/38 | 38 | 8-305B-01A
| 39 | 8-305B-01B
| 40 | 8-305B-01C
R3/SW1/5/39 | 41 | 8-305-01A
| 42 | 8-305-01B
| 43 | 8-305-01C
R3/SW1/1/3 | 44 | 8-305-03A
R2/SW1/7/14 | 45 | 8-305-03B
| 46 | 8-305-03C
| 47 | 8-305-03D
PP - PORT 3 / VG - PORT 34 | 48 | 8-305-05A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-K | R3-DATA-PP-C | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-305-05B |  |  |  |  | 8-122C
| 2 | 8-305-05C
R3/SW1/5/16 | 3 | 8-305-07A
| 4 | 8-305-07B
R3/SW1/6/11 | 5 | 8-305-07C
| 6 | 8-305-07D
R3/SW1/5/17 | 7 | 8-305-09A
| 8 | 8-305-09B
| 9 | 8-305-09C
R3/SW1/5/18 | 10 | 8-307B-01A
| 11 | 8-307B-01B
| 12 | 8-307B-01C
R3/SW1/5/41 | 13 | 8-307-01A
| 14 | 8-307-01B
| 15 | 8-307-01C
R3/SW1/1/4 | 16 | 8-307-03A
R2/SW1/7/15 | 17 | 8-307-03B
| 18 | 8-307-03C
| 19 | 8-307-03D
PP - PORT 2 / VG - PORT 33 | 20 | 8-307-05A
| 21 | 8-307-05B
| 22 | 8-307-05C
R3/SW1/5/43 | 23 | 8-307-07A
| 24 | 8-307-07B
R3/SW1/6/12 | 25 | 8-307-07C
| 26 | 8-307-07D
R3/SW1/5/19 | 27 | 8-307-09A
| 28 | 8-307-09B
| 29 | 8-307-09C
R3/SW1/5/20 | 30 | 8-309B-01A
| 31 | 8-309B-01B
| 32 | 8-309B-01C
R3/SW1/5/21 | 33 | 8-309-01A
| 34 | 8-309-01B
| 35 | 8-309-01C
R3/SW1/1/5 | 36 | 8-309-03A
R2/SW1/7/16 | 37 | 8-309-03B
| 38 | 8-309-03C
| 39 | 8-309-03D
PP - PORT 1 / VG - PORT 32 | 40 | 8-309-05A
| 41 | 8-309-05B
| 42 | 8-309-05C
R3/SW1/5/45 | 43 | 8-309-07A
| 44 | 8-309-07B
R3/SW1/5/44 | 45 | 8-309-07C
| 46 | 8-309-07D
R3/SW1/5/46 | 47 | 8-309-09A
| 48 | 8-309-09B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-L | R3-DATA-PP-D | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-309-09C |  |  |  |  | 8-122C
R3/SW1/5/22 | 2 | CORR.8-120Z-01A
| 3 | CORR.8-120Z-01B
R3/SW1/5/23 | 4 | CORR.8-120Z-03A
| 5 | CORR.8-120Z-03B
R3/SW1/5/24 | 6 | CORR.8-120Z-05A
| 7 | CORR.8-120Z-05B
R3/SW1/6/1 | 8 | IDF-122C-01A
R2/SW1/1/1 | 9 | IDF-122C-01B
R3/SW1/6/2 | 10 | IDF-122C-03A
| 11 | IDF-122C-03B
R3/SW1/6/3 | 12 | 8-214-03A
| 13 | 8-214-03B
| 14 | 8-214-03C
R3/SW1/5/47 | 15 | 8-214-05A
| 16 | 8-214-05B
R3/SW1/5/48 | 17 | 8-216-01A
| 18 | 8-216-01B
| 19 | 8-216-01C
R3/SW1/6/48 | 20 | 8-216-03A
| 21 | 8-216-03B
| 22 | 8-216-03C
R3/SW1/6/47 | 23 | 8-224-01A
| 24 | 8-224-01B
| 25 | 8-224-01C
| 26 | 8-303-05C
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-BMS-PP-C | TERINATED | PLATED | TESTED | NOTES
| 1 | CORR.8-200Z-01A |  |  |  |  | 8-122C
| 2 | CORR.8-200Z-01B
| 3 | 8-242-01A
| 4 | 8-242-01B
| 5 | 8-201B-01A
| 6 | 8-201B-01B
| 7 | 8-109B-01A
| 8 | 8-109B-01B
| 9 | 8-202-01A
| 10 | 8-202-01B
| 11 | CORR.120Z-01A
| 12 | CORR.120Z-01B
| 13 | 8-236E-01A
| 14 | 8-236E-01B
| 15 | 8-236E-03A
| 16 | 8-236E-03B
| 17 | 8-236E-05A
| 18 | 8-236E-05B
| 19 | 8-236E-07A
| 20 | 8-236E-07B
| 21 | 8-236E-09A
| 22 | 8-236E-09B
| 23 | 8-236E-11A
| 24 | 8-236E-11B
| 25 | IDF-122C-01A
R2/SW1/1/2 | 26 | IDF-122C-01B
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-CAM-PP-D | TERINATED | PLATED | TESTED | NOTES
| 1 | CORR.8-200Z-01A |  |  |  |  | 8-122C
| 2 | CORR.8-200Z-03A
| 3 | 8-100A-01A
| 4 | 8-004X STAIR 3-01A
| 5 | CORR.8-110Z-01A
| 6 | 8-222-01A
| 7 | 8-308-01A
| 8 | 8-308-03A
| 9 | CORR.8-310Z-01A
| 10 | IDF-122C-01A
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-WAP-PP-E | TERINATED | PLATED | TESTED | NOTES
R2/SW1/1/48 | 1 | 8-213-01A |  |  |  |  | 8-122C
| 2 | 8-213-01B
R2/SW1/1/47 | 3 | 8-302-01A
| 4 | 8-302-01B
R2/SW1/1/46 | 5 | 8-207-01A
| 6 | 8-207-01B
R2/SW1/1/45 | 7 | 8-203-01A
| 8 | 8-203-01B
R2/SW1/1/44 | 9 | 8-201-01A
| 10 | 8-201-01B
R2/SW1/1/43 | 11 | 8-004X STAIR 3-01A
| 12 | 8-004X STAIR 3-01B
R2/SW1/1/42 | 13 | 8-212-01A
| 14 | 8-212-01B
R2/SW1/1/41 | 15 | 8-113-01A
| 16 | 8-113-01B
R2/SW1/1/40 | 17 | 8-107-01A
| 18 | 8-107-01B
R2/SW1/1/39 | 19 | CORR.8-110Z-01A
| 20 | CORR.8-110Z-01B
R2/SW1/1/38 | 21 | 8-206-01A
| 22 | 8-206-01B
R2/SW1/1/37 | 23 | 8-216-01A
| 24 | 8-216-01B
R2/SW1/1/36 | 25 | CORR.8-130Z-01A
| 26 | CORR.8-130Z-01B
R2/SW1/1/35 | 27 | 8-312-01A
| 28 | 8-312-01B
R2/SW1/1/34 | 29 | 8-305-01A
| 30 | 8-305-01B
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
TEC
HOME RUNS PULLED
GE
HOME RUNS PULLED
FIELD END PULLED
MOOD
HOME RUNS PULLED
PTP
95% PULLED
8th Floor IDF (334C Center)
IDF BUILDOUT
NOTES
RACKS MOUNTED
CABLE TRAY INSTALLED
| DATA TERMINATED |  | 90% PULLED
BONDING
| FIBER TERMINATED |  | PRIMARY | SECONDARY
| FIBER TESTED |  | PRIMARY | SECONDARY
25 PAIR TERMINATED
25 PAIR TESTED
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R2-DATA-PP-A | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/5/13 | 1 | 8-311-01A
| 2 | 8-311-01B
| 3 | 8-311-01C
R2/SW1/7/1 | 4 | 8-311-03A
R2/SW1/7/13 | 5 | 8-311-03B
| 6 | 8-311-03C
| 7 | 8-311-03D
PP - PORT 11 / VG - PORT 30 | 8 | 8-311-05A
| 9 | 8-311-05B
| 10 | 8-311-05C
R2/SW1/5/15 | 11 | 8-311-07A
| 12 | 8-311-07B
R2/SW1/2/36 | 13 | 8-311-07C
| 14 | 8-311-07D
R2/SW1/5/25 | 15 | 8-311-09A
| 16 | 8-311-09B
| 17 | 8-311-09C
R2/SW1/5/26 | 18 | 8-311B-01A
| 19 | 8-311B-01B
| 20 | 8-311B-01C
R2/SW1/5/27 | 21 | 8-313-01A
| 22 | 8-313-01B
| 23 | 8-313-01C
R2/SW1/7/48 | 24 | 8-313-03A
R2/SW1/7/16 | 25 | 8-313-03B
| 26 | 8-313-03C
| 27 | 8-313-03D
PP - PORT 10 / VG - PORT 29 | 28 | 8-313-05A
| 29 | 8-313-05B
| 30 | 8-313-05C
R2/SW1/5/17 | 31 | 8-313-07A
| 32 | 8-313-07B
R2/SW1/5/11 | 33 | 8-313-07C
| 34 | 8-313-07D
R2/SW1/5/12 | 35 | 8-313-09A
| 36 | 8-313-09B
| 37 | 8-313-09C
R2/SW1/5/28 | 38 | 8-313B-01A
| 39 | 8-313B-01B
| 40 | 8-313B-01C
R2/SW1/5/29 | 41 | 8-328-01A
| 42 | 8-328-01B
| 43 | 8-328-01C
R2/SW1/5/30 | 44 | 8-328-03A
| 45 | 8-328-03B
| 46 | 8-328-03C
R2/SW1/5/31 | 47 | 8-328-05A
| 48 | 8-328-05B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-B | R2-DATA-PP-B | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-328-05C |  |  |  |  | 8-334C
R2/SW1/5/18 | 2 | 8-130Z-01A
R2/SW1/5/19 | 3 | 8-328-07A
| 4 | 8-328-07B
| 5 | 8-328-07C
R2/SW1/5/20 | 6 | 8-328-09A
R2/SW1/5/10 | 7 | 8-328-09B
R2/SW1/5/21 | 8 | 8-114-01A
| 9 | 8-114-01B
| 10 | 8-114-01C
R2/SW1/5/22 | 11 | 8-114-03A
R2/SW1/5/5 | 12 | 8-114-03B
| 13 | 8-114-03C
R2/SW1/5/32 | 14 | 8-114-05A
| 15 | 8-114-05B
| 16 | 8-114-05C
R2/SW1/5/33 | 17 | 8-106-01A
| 18 | 8-106-01B
R2/SW1/5/34 | 19 | 8-108-01A
R2/SW1/2/45 | 20 | 8-108-01B
| 21 | 8-108-01C
R2/SW1/5/35 | 22 | 8-108-03A
| 23 | 8-108-03B
| 24 | 8-108-03C
R2/SW1/5/23 | 25 | 8-108-05A
| 26 | 8-108-05B
| 27 | 8-108-05C
R2/SW1/5/24 | 28 | 8-106-05A
R2/SW1/5/4 | 29 | 8-106-05B
| 30 | 8-106-05C
R2/SW1/6/1 | 31 | 8-120A-01A
| 32 | 8-120A-01B
| 33 | 8-120A-01C
R2/SW1/6/2 | 34 | CORR.8-110Z-01A
| 35 | CORR.8-110Z-01B
R2/SW1/6/3 | 36 | CORR.8-110Z-03A
| 37 | CORR.8-110Z-03B
R2/SW1/5/36 | 38 | 8-106-07A
R2/SW1/2/43 | 39 | 8-106-07B
| 40 | 8-106-07C
R2/SW1/7/47 | 41 | 8-106-09A
R2/SW1/2/37 | 42 | 8-106-09B
| 43 | 8-106-09C
| 44 | 8-106-09D
R2/SW1/5/37 | 45 | 8-106-11A
| 46 | 8-106-11B
| 47 | 8-106-11C
R2/SW1/5/38 | 48 | 8-106-03A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-C | R2-DATA-PP-C | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/7/7 | 1 | 8-106-03B |  |  |  |  | 8-334C
R2/SW1/6/4 | 2 | 8-106-13A
| 3 | 8-106-13B
| 4 | 8-106-13C
R2/SW1/6/5 | 5 | 8-106-15A
| 6 | 8-106-15B
| 7 | 8-106-15C
R2/SW1/6/6 | 8 | 8-106-01A
| 9 | 8-106-01B
| 10 | 8-106-01C
R2/SW1/6/7 | 11 | 8-103-01A
| 12 | 8-103-01B
| 13 | 8-103-01C
R2/SW1/7/46 | 14 | 8-103-03A
R2/SW1/9/42 | 15 | 8-103-03B
| 16 | 8-103-03C
| 17 | 8-103-03D
PP - PORT 1 / VG - PORT 20 | 18 | 8-103-05A
| 19 | 8-103-05B
| 20 | 8-103-05C
R2/SW1/5/40 | 21 | 8-103-07A
| 22 | 8-103-07B
R2/SW1/2/38 | 23 | 8-103-07C
| 24 | 8-103-07D
R2/SW1/6/8 | 25 | 8-103-09A
| 26 | 8-103-09B
| 27 | 8-103-09C
R2/SW1/6/9 | 28 | 8-101-01A
| 29 | 8-101-01B
| 30 | 8-101-01C
R2/SW1/7/2 | 31 | 8-101-03A
R2/SW1/9/8 | 32 | 8-101-03B
| 33 | 8-101-03C
| 34 | 8-101-03D
PP - PORT 2 / VG - PORT 21 | 35 | 8-101-05A
| 36 | 8-101-05B
| 37 | 8-101-05C
R2/SW1/5/41 | 38 | 8-101-07A
| 39 | 8-101-07B
R2/SW1/2/39 | 40 | 8-101-07C
| 41 | 8-101-07D
R2/SW1/5/42 | 42 | 8-101B-01A
| 43 | 8-101B-01B
| 44 | 8-101B-01C
R2/SW1/5/43 | 45 | 8-101-09A
| 46 | 8-101-09B
| 47 | 8-101-09C
R2/SW1/5/44 | 48 | 8-011-01A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-D | R2-DATA-PP-D | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/6/11 | 1 | 8-513-01A |  |  |  |  | 8-334C
R2/SW1/6/10 | 2 | 8-513-01B
R2/SW1/6/12 | 3 | 8-513-03A
R2/SW1/2/47 | 4 | 8-513-03B
R2/SW1/6/13 | 5 | 8-511G-01A
| 6 | 8-511G-01B
| 7 | 8-511G-01C
R2/SW1/6/14 | 8 | 8-511H-01A
| 9 | 8-511H-01B
| 10 | 8-511H-01C
R2/SW1/6/15 | 11 | 8-511K-01A
| 12 | 8-511K-01B
| 13 | 8-511K-01C
R2/SW1/5/45 | 14 | 8-511F-01A
| 15 | 8-511F-01B
| 16 | 8-511F-01C
R2/SW1/5/46 | 17 | 8-511I-01A
| 18 | 8-511I-01B
| 19 | 8-511I-01C
R2/SW1/5/47 | 20 | 8-511B-01A
| 21 | 8-511B-01B
| 22 | 8-511B-01C
R2/SW1/5/48 | 23 | 8-511D-01A
| 24 | 8-511D-01B
| 25 | 8-511D-01C
R2/SW1/6/16 | 26 | 8-511-01A
| 27 | 8-511-01B
| 28 | 8-511-01C
R2/SW1/6/17 | 29 | 8-511-03A
| 30 | 8-511-03B
| 31 | 8-511-03C
R2/SW1/6/18 | 32 | 8-511-05A
| 33 | 8-511-05B
| 34 | 8-511-05C
R2/SW1/6/19 | 35 | 8-511-07A
| 36 | 8-511-07B
| 37 | 8-511-07C
R2/SW1/6/25 | 38 | 8-511-09A
| 39 | 8-511-09B
| 40 | 8-511-09C
R2/SW1/6/26 | 41 | 8-511A-01A
| 42 | 8-511A-01B
| 43 | 8-511A-01C
R2/SW1/6/27 | 44 | 8-511-11A
PP - PORT 3 / VG - PORT 22 | 45 | 8-511-11B
| 46 | 8-511-11C
R2/SW1/6/28 | 47 | 8-511-13A
| 48 | 8-511-13B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-E | R2-DATA-PP-E | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-511-13C |  |  |  |  | 8-334C
R2/SW1/6/20 | 2 | 8-511-15A
| 3 | 8-511-15B
| 4 | 8-511-15C
R2/SW1/6/21 | 5 | 8-516-01A
| 6 | 8-516-01B
| 7 | 8-516-01C
R2/SW1/6/22 | 8 | 8-516-03A
| 9 | 8-516-03B
| 10 | 8-516-03C
R2/SW1/6/23 | 11 | 8-516-05A
| 12 | 8-516-05B
| 13 | 8-516-05C
R2/SW1/6/29 | 14 | 8-516-07A
| 15 | 8-516-07B
| 16 | 8-516-07C
R2/SW1/6/30 | 17 | 8-516-09A
| 18 | 8-516-09B
| 19 | 8-516-09C
R2/SW1/6/31 | 20 | 8-516-11A
| 21 | 8-516-11B
| 22 | 8-516-11C
R2/SW1/6/32 | 23 | 8-516-13A
| 24 | 8-516-13B
| 25 | 8-516-13C
R2/SW1/6/24 | 26 | 8-516-15A
| 27 | 8-516-15B
| 28 | 8-516-15C
R2/SW1/2/1 | 29 | 8-516-17A
| 30 | 8-516-17B
| 31 | 8-516-17C
R2/SW1/2/2 | 32 | 8-516-19A
| 33 | 8-516-19B
| 34 | 8-516-19C
R2/SW1/2/3 | 35 | 8-516-21A
R2/SW1/5/1 | 36 | 8-516-21B
R2/SW1/6/33 | 37 | 8-516-23A
| 38 | 8-516-23B
R2/SW1/6/34 | 39 | 8-516-25A
| 40 | 8-516-25B
R2/SW1/6/35 | 41 | 8-518-01A
PP - PORT 12 / VG - PORT 31 | 42 | 8-518-01B
| 43 | 8-518-01C
R2/SW1/6/36 | 44 | 8-518-03A
| 45 | 8-518-03B
| 46 | 8-518-03C
R2/SW1/6/37 | 47 | 8-518-05A
| 48 | 8-518-05B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-F | R2-DATA-PP-F | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-518-05C |  |  |  |  | 8-334C
R2/SW1/2/4 | 2 | CORR.510Z-01A
R2/SW1/2/5 | 3 | 8-500Z-01A
| 4 | 8-500Z-01B
| 5 |  |  |  |  | MISSING
R2/SW1/2/6 | 6 | CORR.540Z-01A
| 7 | CORR.540Z-01B
R2/SW1/2/7 | 8 | CORR.540Z-03A
| 9 | CORR.540Z-03B
R2/SW1/2/8 | 10 | 8-126-01A
R2/SW1/5/9 | 11 | 8-126-01B
R2/SW1/2/9 | 12 | 8-126-03A
| 13 | 8-126-03B
| 14 | 8-126-03C
R2/SW1/6/38 | 15 | 8-126-05A
| 16 | 8-126-05B
| 17 | 8-126-05C
R2/SW1/6/39 | 18 | 8-128-01A
| 19 | 8-128-01B
| 20 | 8-128-01C
R2/SW1/6/40 | 21 | 8-128-05A
R2/SW1/2/40 | 22 | 8-128-05B
R2/SW1/6/41 | 23 | 8-128-03A
| 24 | 8-128-03B
| 25 | 8-128-03C
R2/SW1/7/10 | 26 | CORR.8-340Z-01A
R2/SW1/7/11 | 27 | CORR.8-340Z-03A
R2/SW1/7/12 | 28 | 8-338-01A
| 29 | 8-338-01B
| 30 | 8-338-01C
R2/SW1/7/13 | 31 | 8-338-03A
R2/SW1/5/3 | 32 | 8-338-03B
| 33 | 8-338-03C
R2/SW1/7/14 | 34 | 8-338-05A
R2/SW1/5/8 | 35 | 8-338-05B
R2/SW1/7/15 | 36 | 8-338-07A
| 37 | 8-338-07B
| 38 | 8-338-07C
R2/SW1/6/42 | 39 | 8-338-09A
| 40 | 8-338-09B
| 41 | 8-338-09C
R2/SW1/6/43 | 42 | 8-338-11A
| 43 | 8-338-11B
| 44 | 8-338-11C
R2/SW1/7/45 | 45 | 8-338-13A
| 46 | 8-338-13B
| 47 | 8-338-13C
| 48 | 8-338-13D
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-G | R2-DATA-PP-G | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/7/16 | 1 | 8-338-15A |  |  |  |  | 8-334C
| 2 | 8-338-15B
| 3 | 8-338-15C
R2/SW1/7/17 | 4 | CORR.8-350Z-01A
| 5 | CORR.8-350Z-01B
R2/SW1/7/18 | 6 | CORR.8-350Z-03A
| 7 | CORR.8-350Z-03B
R2/SW1/7/19 | 8 | 8-325-01A
| 9 | 8-325-01B
| 10 | 8-325-01C
R2/SW1/7/3 | 11 | 8-325-03A
R2/SW1/7/9 | 12 | 8-325-03B
| 13 | 8-325-03C
| 14 | 8-325-03D
PP - PORT 4 / VG - PORT 23 | 15 | 8-325-05A
| 16 | 8-325-05B
| 17 | 8-325-05C
R2/SW1/6/45 | 18 | 8-325-07A
| 19 | 8-325-07B
R2/SW1/2/41 | 20 | 8-325-07C
| 21 | 8-325-07D
R2/SW1/6/46 | 22 | 8-325-09A
| 23 | 8-325-09B
| 24 | 8-325-09C
R2/SW1/7/20 | 25 | 8-325B-01A
| 26 | 8-325B-01B
| 27 | 8-325B-01C
R2/SW1/7/21 | 28 | 8-323-01A
| 29 | 8-323-01B
| 30 | 8-323-01C
R2/SW1/7/4 | 31 | 8-323-03A
R2/SW1/7/10 | 32 | 8-323-03B
| 33 | 8-323-03C
| 34 | 8-323-03D
PP - PORT 5 / VG - PORT 24 | 35 | 8-323-05A
| 36 | 8-323-05B
| 37 | 8-323-05C
R2/SW1/6/47 | 38 | 8-323-07A
| 39 | 8-323-07B
R2/SW1/2/42 | 40 | 8-323-07C
| 41 | 8-323-07D
R2/SW1/6/48 | 42 | 8-323-09A
| 43 | 8-323-09B
| 44 | 8-323-09C
R2/SW1/2/25 | 45 | 8-323B-01A
| 46 | 8-323B-01B
| 47 | 8-323B-01C
R2/SW1/2/26 | 48 | 8-321-01A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-H | R2-DATA-PP-H | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-321-01B |  |  |  |  | 8-334C
| 2 | 8-321-01C
R2/SW1/7/5 | 3 | 8-321-03A
R2/SW1/7/11 | 4 | 8-321-03B
| 5 | 8-321-03C
| 6 | 8-321-03D
PP - PORT 6 / VG - PORT 25 | 7 | 8-321-05A
| 8 | 8-321-05B
| 9 | 8-321-05C
R2/SW1/7/24 | 10 | 8-321-07A
| 11 | 8-321-07B
R2/SW1/5/7 | 12 | 8-321-07C
| 13 | 8-321-07D
R2/SW1/2/27 | 14 | 8-321-09A
| 15 | 8-321-09B
| 16 | 8-321-09C
R2/SW1/2/28 | 17 | 8-321B-01A
| 18 | 8-321B-01B
| 19 | 8-321B-01C
R2/SW1/2/29 | 20 | 8-319-01A
| 21 | 8-319-01B
| 22 | 8-319-01C
R2/SW1/7/44 | 23 | 8-319-03A
R2/SW1/7/41 | 24 | 8-319-03B
| 25 | 8-319-03C
| 26 | 8-319-03D
PP - PORT 7 / VG - PORT 26 | 27 | 8-319-05A
| 28 | 8-319-05B
| 29 | 8-319-05C
R2/SW1/2/31 | 30 | 8-319-07A
| 31 | 8-319-07B
R2/SW1/5/6 | 32 | 8-319-07C
| 33 | 8-319-07D
R2/SW1/2/32 | 34 | 8-319-09A
| 35 | 8-319-09B
| 36 | 8-319-09C
R2/SW1/2/33 | 37 | 8-319B-01A
| 38 | 8-319B-01B
| 39 | 8-319B-01C
R2/SW1/2/34 | 40 | 8-317-01A
| 41 | 8-317-01B
| 42 | 8-317-01C
R2/SW1/7/43 | 43 | 8-317-03A
R2/SW1/7/40 | 44 | 8-317-03B
| 45 | 8-317-03C
| 46 | 8-317-03D
PP - PORT 8 / VG - PORT 27 | 47 | 8-317-05A
| 48 | 8-317-05B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-I | R3-DATA-PP-A | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-317-05C |  |  |  |  | 8-334C
R3/SW1/1/1 | 2 | 8-317-07A
| 3 | 8-317-07B
R3/SW1/1/18 | 4 | 8-317-07C
| 5 | 8-317-07D
R3/SW1/1/2 | 6 | 8-317-09A
| 7 | 8-317-09B
| 8 | 8-317-09C
R3/SW1/1/3 | 9 | 8-317B-01A
| 10 | 8-317B-01B
| 11 | 8-317B-01C
R3/SW1/1/4 | 12 | 8-315-01A
| 13 | 8-315-01B
| 14 | 8-315-01C
R3/SW1/1/25 | 15 | 8-315-03A
R2/SW1/7/12 | 16 | 8-315-03B
| 17 | 8-315-03C
| 18 | 8-315-03D
PP - PORT 9 / VG - PORT 28 | 19 | 8-315-05A
| 20 | 8-315-05B
| 21 | 8-315-05C
R3/SW1/1/27 | 22 | 8-315-07A
| 23 | 8-315-07B
R3/SW1/1/37 | 24 | 8-315-07C
| 25 | 8-315-07D
R3/SW1/1/5 | 26 | 8-315-09A
| 27 | 8-315-09B
| 28 | 8-315-09C
R3/SW1/1/6 | 29 | 8-315B-01A
| 30 | 8-315B-01B
| 31 | 8-315B-01C
R3/SW1/1/7 | 32 | 8-332-01A
R2/SW1/7/14 | 33 | 8-332-01B
| 34 | 8-332-01C
| 35 | 8-332-01D
R3/SW1/1/8 | 36 | 8-332-03A
| 37 | 8-332-03B
| 38 | 8-332-03C
R3/SW1/1/28 | 39 | 8-332-05A
| 40 | 8-332-05B
| 41 | 8-332-05C
R3/SW1/1/29 | 42 | 8-332-07A
| 43 | 8-332-07B
| 44 | 8-332-07C
R3/SW1/1/30 | 45 | 8-332-09A
R3/SW1/1/26 | 46 | 8-332-09B
| 47 | 8-332-09C
R3/SW1/1/31 | 48 | 8-332-11A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-J | R3-DATA-PP-B | TERMINATED | PLATED | TESTED | NOTES
R3/SW1/1/9 | 1 | 8-332-13A |  |  |  |  | 8-334C
| 2 | 8-332-13B
R3/SW1/1/10 | 3 | 8-126-07A
R3/SW1/1/11 | 4 | 8-336-01A
| 5 | 8-336-01B
| 6 | 8-336-01C
R3/SW1/1/12 | 7 | 8-336-03A
| 8 | 8-336-03B
| 9 | 8-336-03C
R3/SW1/1/13 | 10 | 8-336-05A
| 11 | 8-336-05B
| 12 | 8-336-05C
R3/SW1/1/32 | 13 | 8-336-07A
| 14 | 8-336-07B
| 15 | 8-336-07C
R3/SW1/1/33 | 16 | 8-336-09A
| 17 | 8-336-09B
| 18 | 8-336-09C
R3/SW1/1/34 | 19 | 8-336-11A
| 20 | 8-336-11B
| 21 | 8-336-11C
R3/SW1/1/35 | 22 | 8-336-13A
| 23 | 8-336-13B
| 24 | 8-336-13C
R3/SW1/1/14 | 25 | 8-336-15A
| 26 | 8-336-15B
| 27 | 8-336-15C
R3/SW1/1/15 | 28 | IDF-8-334C-01A
R2/SW1/1/1 | 29 | IDF-8-334C-01B
R3/SW1/1/16 | 30 | IDF-8-334C-03A
R2/SW1/1/2 | 31 | IDF-8-334C-03B
R3/SW1/1/17 | 32 | 8-103B-01A
| 33 | 8-103B-01B
| 34 | 8-103B-01C
R3/SW1/2/1 | 35 | CORR.8-010Z-01A
R3/SW1/2/2 | 36 | 8-106-17A
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-BMS-PP-C | TERINATED | PLATED | TESTED | NOTES
| 1 | 8-315B-01A |  |  |  |  | 8-334C
| 2 | 8-315B-01B
| 3 | CORR.8-310Z-01A
| 4 | CORR.8-310Z-01B
| 5 | CORR.8-130Z-01A
| 6 | CORR.8-130Z-01B
| 7 | CORR.8-340Z-01A
| 8 | CORR.8-340Z-01B
| 9 | 8-511-01A
| 10 | 8-511-01B
| 11 | 8-011-01A
| 12 | 8-011-01B
| 13 | IDF-8-334C-01A
R2/SW1/1/3 | 14 | IDF-8-334C-01B
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-CAM-PP-D | TERINATED | PLATED | TESTED | NOTES
| 1 | CORR.8-310Z-01A |  |  |  |  | 8-334C
| 2 | 8-138-01A
| 3 | 8-108-01A
| 4 | CORR.8-330Z-01A
| 5 | CORR.8-530Z-01A
| 6 | 8-006X-STAIR 1-01A
| 7 | 8-500Z-01A
| 8 | 8-518-01A
| 9 | 8-011A-01A
| 10 | 8-011-01A
| 11 | 8-000Z-01A
| 12 | IDF-8-334C-01A
| 13 | CORR.8-540Z-01A
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-WAP-PP-E | TERINATED | PLATED | TESTED | NOTES
R2/SW1/1/48 | 1 | 8-311-01A |  |  |  |  | 8-334C
| 2 | 8-311-01B
R2/SW1/1/47 | 3 | 8-114-01A
| 4 | 8-114-01B
R2/SW1/1/46 | 5 | CORR.8-110Z-01A
| 6 | CORR.8-110Z-01B
R2/SW1/1/45 | 7 | CORR.8-310Z-01A
| 8 | CORR.8-310Z-01B
R2/SW1/1/44 | 9 | 8-317-01A
| 10 | 8-317-01B
R2/SW1/1/43 | 11 | 8-319-01A
| 12 | 8-319-01B
R2/SW1/1/42 | 13 | CORR.8-330Z-01A
| 14 | CORR.8-330Z-01B
R2/SW1/1/41 | 15 | 8-325-01A
| 16 | 8-325-01B
R2/SW1/1/40 | 17 | CORR.8-540Z-01A
| 18 | CORR.8-540Z-01B
R2/SW1/1/39 | 19 | CORR.8-530Z-01A
| 20 | CORR.8-530Z-01B
R2/SW1/1/38 | 21 | CORR.8-510Z-01A
| 22 | CORR.8-510Z-01B
R2/SW1/1/37 | 23 | 8-511-01A
| 24 | 8-511-01B
R2/SW1/1/36 | 25 | 8-011-01A
| 26 | 8-011-01B
R2/SW1/1/35 | 27 | CORR.8-110Z-01A
| 28 | CORR.8-110Z-01B
R2/SW1/1/34 | 29 | 8-518-01A
| 30 | 8-518-01B
R2/SW1/1/33 | 31 | 8-000Z-01A
| 32 | 8-000Z-01B
R2/SW1/1/32 | 33 | 8-126-01A
| 34 | 8-126-01B
R2/SW1/1/31 | 35 | IDF-8-334C-01A
| 36 | IDF-8-334C-01B
37
38
39
40
41
42
43
44
45
46
47
48
TEC
HOME RUNS PULLED
GE
HOME RUNS PULLED
FIELD END PULLED
MOOD
HOME RUNS PULLED
PTP
95% PULLED
8th Floor IDF (438C West)
IDF BUILDOUT
NOTES
RACKS MOUNTED
CABLE TRAY INSTALLED
DATA TERMINATED
BONDING
| FIBER TERMINATED |  | PRIMARY | SECONDARY
| FIBER TESTED |  | PRIMARY | SECONDARY
25 PAIR TERMINATED
25 PAIR TESTED
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R2-DATA-PP-A | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/7/1 | 1 | 8-507-01A
| 2 | 8-507-01B
| 3 | 8-507-01C
R2/SW1/7/2 | 4 | 8-507-03A
| 5 | 8-507-03B
| 6 | 8-507-03C
R2/SW1/9/1 | 7 | 8-507-05A
R2/SW1/9/13 | 8 | 8-507-05B
| 9 | 8-507-05C
| 10 | 8-507-05D
PP - PORT 1 / VG - PORT 0 | 11 | 8-507-07A
| 12 | 8-507-07B
| 13 | 8-507-07C
R2/SW1/3/25 | 14 | 8-507-09A
| 15 | 8-507-09B
R2/SW1/2/48 | 16 | 8-507-09C
| 17 | 8-507-09D
R2/SW1/3/26 | 18 | 8-507-11A
| 19 | 8-507-11B
| 20 | 8-507-11C
R2/SW1/3/27 | 21 | 8-507B-01A
| 22 | 8-507B-01B
| 23 | 8-507B-01C
R2/SW1/3/28 | 24 | 8-507-13A
R2/SW1/3/1 | 25 | 8-507-13B
R2/SW1/7/4 | 26 | 8-507-15A
R2/SW1/3/2 | 27 | 8-507-15B
R2/SW1/7/5 | 28 | CORR.8-440Z-01A
| 29 | CORR.8-440Z-01B
R2/SW1/7/6 | 30 | CORR.8-440Z-03A
| 31 | CORR.8-440Z-03B
R2/SW1/7/7 | 32 | 8-505-01A
| 33 | 8-505-01B
| 34 | 8-505-01C
R2/SW1/7/8 | 35 | 8-505-03A
| 36 | 8-505-03B
| 37 | 8-505-03C
R2/SW1/9/48 | 38 | 8-505-05A
R2/SW1/9/42 | 39 | 8-505-05B
| 40 | 8-505-05C
| 41 | 8-505-05D
PP - PORT 2 / VG - PORT 01 | 42 | 8-505-07A
| 43 | 8-505-07B
| 44 | 8-505-07C
R2/SW1/3/30 | 45 | 8-505-09A
| 46 | 8-505-09B
R2/SW1/2/47 | 47 | 8-505-09C
| 48 | 8-505-09D
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-B | R2-DATA-PP-B | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/7/9 | 1 | 8-505-11A |  |  |  |  | 8-438C
| 2 | 8-505-11B
| 3 | 8-505-11C
R2/SW1/7/10 | 4 | 8-505B-01A
| 5 | 8-505B-01B
| 6 | 8-505B-01C
R2/SW1/7/11 | 7 | 8-505-13A
R2/SW1/3/3 | 8 | 8-505-13B
R2/SW1/7/12 | 9 | 8-505-15A
R2/SW1/3/4 | 10 | 8-505-15B
R2/SW1/7/13 | 11 | CORR.8-440Z-05A
| 12 | CORR.8-440Z-05B
R2/SW1/3/31 | 13 | CORR.8-440Z-07A
| 14 | CORR.8-440Z-07B
R2/SW1/3/32 | 15 | CORR.8-440Z-09A
| 16 | CORR.8-440Z-09B
R2/SW1/3/33 | 17 | 8-503-01A
| 18 | 8-503-01B
| 19 | 8-503-01C
R2/SW1/3/34 | 20 | 8-503-03A
| 21 | 8-503-03B
| 22 | 8-503-03C
R2/SW1/9/47 | 23 | 8-503-05A
R2/SW1/9/41 | 24 | 8-503-05B
| 25 | 8-503-05C
| 26 | 8-503-05D
PP - PORT 3 / VG - PORT 02 | 27 | 8-503-07A
| 28 | 8-503-07B
| 29 | 8-503-07C
R2/SW1/7/15 | 30 | 8-503-09A
| 31 | 8-503-09B
R2/SW1/3/5 | 32 | 8-503-09C
| 33 | 8-503-09D
R2/SW1/7/16 | 34 | 8-503-11A
| 35 | 8-503-11B
| 36 | 8-503-11C
R2/SW1/3/35 | 37 | 8-503B-01A
| 38 | 8-503B-01B
| 39 | 8-503B-01C
R2/SW1/3/36 | 40 | 8-503-13A
R2/SW1/2/46 | 41 | 8-503-13B
R2/SW1/3/37 | 42 | 8-503-15A
R2/SW1/2/45 | 43 | 8-503-15B
R2/SW1/3/38 | 44 | 8-501-01A
| 45 | 8-501-01B
| 46 | 8-501-01C
R2/SW1/3/39 | 47 | 8-501-03A
| 48 | 8-501-03B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-C | R2-DATA-PP-C | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-501-03C |  |  |  |  | 8-438C
R2/SW1/9/2 | 2 | 8-501-05A
R2/SW1/9/14 | 3 | 8-501-05B
| 4 | 8-501-05C
| 5 | 8-501-05D
PP - PORT 4 - VG - PORT 03 | 6 | 8-501-07A
| 7 | 8-501-07B
| 8 | 8-501-07C
R2/SW1/7/18 | 9 | 8-501-09A
| 10 | 8-501-09B
R2/SW1/3/6 | 11 | 8-501-09C
| 12 | 8-501-09D
R2/SW1/3/40 | 13 | 8-501-11A
| 14 | 8-501-11B
| 15 | 8-501-11C
R2/SW1/3/41 | 16 | 8-501B-01A
| 17 | 8-501B-01B
| 18 | 8-501B-01C
R2/SW1/3/42 | 19 | 8-501-13A
R2/SW1/2/44 | 20 | 8-501-13B
R2/SW1/3/43 | 21 | 8-501-15A
R2/SW1/2/43 | 22 | 8-501-15B
R2/SW1/3/44 | 23 | 8-427-01A
| 24 | 8-427-01B
| 25 | 8-427-01C
R2/SW1/7/19 | 26 | 8-427-03A
| 27 | 8-427-03B
| 28 | 8-427-03C
R2/SW1/7/20 | 29 | 8-427-05A
| 30 | 8-427-05B
| 31 | 8-427-05C
R2/SW1/7/21 | 32 | 8-427-07A
R2/SW1/3/21 | 33 | 8-427-07B
R2/SW1/7/22 | 34 | 8-427-09A
R2/SW1/3/7 | 35 | 8-427-09B
R2/SW1/7/23 | 36 | 8-427-11A
R2/SW1/2/42 | 37 | 8-427-11B
R2/SW1/3/45 | 38 | 8-425-03A
| 39 | 8-425-03B
| 40 | 8-425-03C
R2/SW1/3/46 | 41 | 8-425-01A
| 42 | 8-425-01B
| 43 | 8-425-01C
R2/SW1/3/47 | 44 | CORR.8-410Z-01A
R2/SW1/3/48 | 45 | 8-423-01A
| 46 | 8-423-01B
| 47 | 8-423-01C
R2/SW1/4/25 | 48 | 8-423-03A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-D | R2-DATA-PP-D | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-423-03B |  |  |  |  | 8-438C
| 2 | 8-423-03C
R2/SW1/9/3 | 3 | 8-423-05A
R2/SW1/9/15 | 4 | 8-423-05B
| 5 | 8-423-05C
| 6 | 8-423-05D
PP - PORT 5 / VG - PORT 04 | 7 | 8-423-07A
| 8 | 8-423-07B
| 9 | 8-423-07C
R2/SW1/8/1 | 10 | 8-423-09A
| 11 | 8-423-09B
R2/SW1/3/8 | 12 | 8-423-09C
| 13 | 8-423-09D
R2/SW1/4/26 | 14 | 8-423-11A
| 15 | 8-423-11B
| 16 | 8-423-11C
R2/SW1/4/27 | 17 | 8-423B-01A
| 18 | 8-423B-01B
| 19 | 8-423B-01C
R2/SW1/4/28 | 20 | 8-423-13A
R2/SW1/2/41 | 21 | 8-423-13B
R2/SW1/4/29 | 22 | 8-423-15A
R2/SW1/2/40 | 23 | 8-423-15B
R2/SW1/4/30 | 24 | 8-421-01A
| 25 | 8-421-01B
| 26 | 8-421-01C
R2/SW1/8/2 | 27 | 8-421-03A
| 28 | 8-421-03B
| 29 | 8-421-03C
R2/SW1/9/4 | 30 | 8-421-05A
R2/SW1/9/16 | 31 | 8-421-05B
| 32 | 8-421-05C
| 33 | 8-421-05D
PP - PORT 6 / VG - PORT 05 | 34 | 8-421-07A
| 35 | 8-421-07B
| 36 | 8-421-07C
R2/SW1/4/31 | 37 | 8-421-09A
| 38 | 8-421-09B
R2/SW1/2/39 | 39 | 8-421-09C
| 40 | 8-421-09D
R2/SW1/4/32 | 41 | 8-421-11A
| 42 | 8-421-11B
| 43 | 8-421-11C
R2/SW1/4/33 | 44 | 8-421B-01A
| 45 | 8-421B-01B
| 46 | 8-421B-01C
R2/SW1/4/34 | 47 | 8-421-13A
R2/SW1/2/38 | 48 | 8-421-13B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-E | R2-DATA-PP-E | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/8/4 | 1 | 8-421-15A |  |  |  |  | 8-438C
R2/SW1/3/9 | 2 | 8-421-15B
R2/SW1/8/5 | 3 | 8-419-01A
| 4 | 8-419-01B
| 5 | 8-419-01C
R2/SW1/8/6 | 6 | 8-419-03A
| 7 | 8-419-03B
| 8 | 8-419-03C
R2/SW1/9/5 | 9 | 8-419-05A
R2/SW1/9/17 | 10 | 8-419-05B
| 11 | 8-419-05C
| 12 | 8-419-05D
PP - PORT 7 / VG - PORT 06 | 13 | 8-419-07A
| 14 | 8-419-07B
| 15 | 8-419-07C
R2/SW1/4/36 | 16 | 8-419-09A
| 17 | 8-419-09B
R2/SW1/2/37 | 18 | 8-419-09C
| 19 | 8-419-09D
R2/SW1/4/37 | 20 | 8-419-11A
| 21 | 8-419-11B
| 22 | 8-419-11C
R2/SW1/4/38 | 23 | 8-419B-01A
| 24 | 8-419B-01B
| 25 | B-419B-01C
R2/SW1/8/7 | 26 | 8-419-13A
R2/SW1/3/10 | 27 | 8-419-13B
R2/SW1/8/8 | 28 | 8-419-15A
R2/SW1/3/11 | 29 | 8-419-15B
R2/SW1/8/9 | 30 | 8-417-01A
| 31 | 8-417-01B
| 32 | 8-417-01C
R2/SW1/8/10 | 33 | 8-417-03A
| 34 | 8-417-03B
| 35 | 8-417-03C
R2/SW1/9/6 | 36 | 8-417-05A
R2/SW1/9/39 | 37 | 8-417-05B
| 38 | 8-417-05C
| 39 | 8-417-05D
PP - PORT 8 / VG - PORT 07 | 40 | 8-417-07A
| 41 | 8-417-07B
| 42 | 8-417-07C
R2/SW1/4/40 | 43 | 8-417-09A
| 44 | 8-417-09B
R2/SW1/2/36 | 45 | 8-417-09C
| 46 | 8-417-09D
R2/SW1/4/41 | 47 | 8-417-11A
| 48 | 8-417-11B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-F | R2-DATA-PP-F | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-417-11C |  |  |  |  | 8-438C
R2/SW1/8/11 | 2 | 8-417B-01A
| 3 | 8-417B-01B
| 4 | 8-417B-01C
R2/SW1/8/12 | 5 | 8-417-13A
R2/SW1/3/12 | 6 | 8-417-13B
R2/SW1/8/13 | 7 | 8-417-15A
R2/SW1/3/13 | 8 | 8-417-15B
R2/SW1/8/14 | 9 | 8-415-01A
| 10 | 8-415-01B
| 11 | 8-415-01C
R2/SW1/8/15 | 12 | 8-415-03A
| 13 | 8-415-03B
| 14 | 8-415-03C
R2/SW1/9/46 | 15 | 8-415-05A
R2/SW1/9/40 | 16 | 8-415-05B
| 17 | 8-415-05C
| 18 | 8-415-05D
PP - PORT 9 / VG - PORT 08 | 19 | 8-415-07A
| 20 | 8-415-07B
| 21 | 8-415-07C
R2/SW1/4/43 | 22 | 8-415-09A
| 23 | 8-415-09B
R2/SW1/2/35 | 24 | 8-415-09C
| 25 | 8-415-09D
R2/SW1/8/16 | 26 | 8-415-11A
| 27 | 8-415-11B
| 28 | 8-415-11C
R2/SW1/8/17 | 29 | 8-415B-01A
| 30 | 8-415B-01B
| 31 | 8-415B-01C
R2/SW1/8/18 | 32 | 8-415-13A
R2/SW1/3/14 | 33 | 8-415-13B
R2/SW1/8/19 | 34 | 8-415-15A
R2/SW1/3/15 | 35 | 8-415-15B
R2/SW1/8/20 | 36 | 8-413-01A
| 37 | 8-413-01B
| 38 | 8-413-01C
R2/SW1/4/44 | 39 | 8-413-03A
| 40 | 8-413-03B
| 41 | 8-413-03C
R2/SW1/9/45 | 42 | 8-413-05A
R2/SW1/9/37 | 43 | 8-413-05B
| 44 | 8-413-05C
| 45 | 8-413-05D
PP - PORT 10 / VG - PORT 09 | 46 | 8-413-07A
| 47 | 8-413-07B
| 48 | 8-413-07C
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-G | R2-DATA-PP-G | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/8/21 | 1 | 8-413-09A |  |  |  |  | 8-438C
| 2 | 8-413-09B
R2/SW1/3/16 | 3 | 8-413-09C
| 4 | 8-413-09D
R2/SW1/8/22 | 5 | 8-413-11A
| 6 | 8-413-11B
| 7 | 8-413-11C
R2/SW1/8/23 | 8 | 8-413B-01A
| 9 | 8-413B-01B
| 10 | 8-413B-01C
R2/SW1/8/24 | 11 | 8-413-13A
R2/SW1/3/17 | 12 | 8-413-13B
R2/SW1/4/46 | 13 | 8-413-15A
R2/SW1/2/34 | 14 | 8-413-15B
R2/SW1/4/47 | 15 | 8-411-01A
| 16 | 8-411-01B
| 17 | 8-411-01C
R2/SW1/9/44 | 18 | 8-411-03A
R2/SW1/9/38 | 19 | 8-411-03B
| 20 | 8-411-03C
| 21 | 8-411-03D
PP - PORT 11 / VG - PORT 10 | 22 | 8-411-05A
| 23 | 8-411-05B
| 24 | 8-411-05C
R2/SW1/4/1 | 25 | 8-411-07A
| 26 | 8-411-07B
R2/SW1/3/18 | 27 | 8-411-07C
| 28 | 8-411-07D
R2/SW1/4/2 | 29 | 8-411-09A
| 30 | 8-411-09B
| 31 | 8-411-09C
R2/SW1/4/3 | 32 | 8-411B-01A
| 33 | 8-411B-01B
| 34 | 8-411B-01C
R2/SW1/4/4 | 35 | 8-409-01A
| 36 | 8-409-01B
| 37 | 8-409-01C
R2/SW1/9/43 | 38 | 8-409-03A
R2/SW1/9/36 | 39 | 8-409-03B
| 40 | 8-409-03C
| 41 | 8-409-03D
PP - PORT 12 / VG - PORT 11 | 42 | 8-409-05A
| 43 | 8-409-05B
| 44 | 8-409-05C
R2/SW1/7/26 | 45 | 8-409-07A
| 46 | 8-409-07B
R2/SW1/2/33 | 47 | 8-409-07C
| 48 | 8-409-07D
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-H | R2-DATA-PP-H | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/4/5 | 1 | 8-409-09A |  |  |  |  | 8-438C
| 2 | 8-409-09B
| 3 | 8-409-09C
R2/SW1/4/6 | 4 | 8-409B-01A
| 5 | 8-409B-01B
| 6 | 8-409B-01C
R2/SW1/4/7 | 7 | 8-407-01A
| 8 | 8-407-01B
| 9 | 8-407-01C
R2/SW1/9/7 | 10 | 8-407-03A
R2/SW1/9/17 | 11 | 8-407-03B
| 12 | 8-407-03C
| 13 | 8-407-03D
PP - PORT 13 / VG - PORT 12 | 14 | 8-407-05A
| 15 | 8-407-05B
| 16 | 8-407-05C
R2/SW1/2/32 | 17 | 8-407-07A
| 18 | 8-407-07B
R2/SW1/7/28 | 19 | 8-407-07C
| 20 | 8-407-07D
R2/SW1/7/29 | 21 | 8-407-09A
| 22 | 8-407-09B
| 23 | 8-407-09C
R2/SW1/7/30 | 24 | 8-407B-01A
| 25 | 8-407B-01B
| 26 | 8-407B-01C
R2/SW1/4/8 | 27 | 8-405-01A
| 28 | 8-405-01B
| 29 | 8-405-01C
R2/SW1/9/8 | 30 | 8-405-03A
R2/SW1/9/19 | 31 | 8-405-03B
| 32 | 8-405-03C
| 33 | 8-405-03D
PP - PORT 14 / VG - PORT 13 | 34 | 8-405-05A
| 35 | 8-405-05B
| 36 | 8-405-05C
R2/SW1/7/31 | 37 | 8-405-07A
| 38 | 8-405-07B
R2/SW1/2/31 | 39 | 8-405-07C
| 40 | 8-405-07D
R2/SW1/7/32 | 41 | 8-405-09A
| 42 | 8-405-09B
| 43 | 8-405-09C
R2/SW1/7/33 | 44 | 8-405B-01A
| 45 | 8-405B-01B
| 46 | 8-405B-01C
R2/SW1/7/34 | 47 | 8-403-01A
| 48 | 8-403-01B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-I | R3-DATA-PP-A | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-403-01C |  |  |  |  | 8-438C
| 2 | 8-403-03A |  |  |  | need a 10' red cord
R2/SW1/9/23 | 3 | 8-403-03B
| 4 | 8-403-03C
| 5 | 8-403-03D
PP - PORT 15 / VG - PORT 14 | 6 | 8-403-05A
| 7 | 8-403-05B
| 8 | 8-403-05C
R3/SW1/7/2 | 9 | 8-403-07A
| 10 | 8-403-07B
R3/SW1/4/15 | 11 | 8-403-07C
| 12 | 8-403-07D
R3/SW1/3/35 | 13 | 8-403-09A
| 14 | 8-403-09B
| 15 | 8-403-09C
R3/SW1/3/26 | 16 | 8-403B-01A
| 17 | 8-403B-01B
| 18 | 8-403B-01C
R3/SW1/3/27 | 19 | 8-401-01A
| 20 | 8-401-01B
| 21 | 8-401-01C
R2/SW1/9/9 | 22 | 8-401-03A
R2/SW1/9/20 | 23 | 8-401-03B
| 24 | 8-401-03C
| 25 | 8-401-03D
PP - PORT 16 / VG - PORT 15 | 26 | 8-401-05A
| 27 | 8-401-05B
| 28 | 8-401-05C
R3/SW1/7/4 | 29 | 8-401-07A
| 30 | 8-401-07B
R3/SW1/4/16 | 31 | 8-401-07C
| 32 | 8-401-07D
R3/SW1/7/5 | 33 | 8-401-09A
| 34 | 8-401-09B
| 35 | 8-401-09C
R3/SW1/7/6 | 36 | 8-401B-01A
| 37 | 8-401B-01B
| 38 | 8-401B-01C
R3/SW1/3/28 | 39 | 8-333-01A
| 40 | 8-333-01B
| 41 | 8-333-01C
R2/SW1/9/10 | 42 | 8-333-03A
R2/SW1/9/21 | 43 | 8-333-03B
| 44 | 8-333-03C
| 45 | 8-333-03D
PP - PORT 17 / VG - PORT 16 | 46 | 8-333-05A
| 47 | 8-333-05B
| 48 | 8-333-05C
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-J | R3-DATA-PP-B | TERMINATED | PLATED | TESTED | NOTES
R3/SW1/7/7 | 1 | 8-333-07A |  |  |  |  | 8-438C
| 2 | 8-333-07B
R3/SW1/4/17 | 3 | 8-333-07C
| 4 | 8-333-07D
R3/SW1/7/8 | 5 | 8-333-09A
| 6 | 8-333-09B
| 7 | 8-333-09C
R3/SW1/7/9 | 8 | 8-333B-01A
| 9 | 8-333B-01B
| 10 | 8-333B-01C
R3/SW1/7/10 | 11 | 8-331-01A
| 12 | 8-331-01B
| 13 | 8-331-01C
R2/SW1/9/11 | 14 | 8-331-03A
R2/SW1/9/22 | 15 | 8-331-03B
| 16 | 8-331-03C
| 17 | 8-331-03D
PP - PORT 18 / VG - PORT 17 | 18 | 8-331-05A
| 19 | 8-331-05B
| 20 | 8-331-05C
R3/SW1/3/31 | 21 | 8-331-07A
| 22 | 8-331-07B
R3/SW1/7/39 | 23 | 8-331-07C
| 24 | 8-331-07D
R3/SW1/7/11 | 25 | 8-331-09A
| 26 | 8-331-09B
| 27 | 8-331-09C
R3/SW1/7/12 | 28 | 8-331B-01A
| 29 | 8-331B-01B
| 30 | 8-331B-01C
R3/SW1/7/13 | 31 | 8-329-01A
| 32 | 8-329-01B
| 33 | 8-329-01C
| 34 | 8-329-03A
R2/SW1/9/24 | 35 | 8-329-03B
| 36 | 8-329-03C
| 37 | 8-329-03D
PP - PORT 19 / VG - PORT 18 | 38 | 8-329-05A
| 39 | 8-329-05B
| 40 | 8-329-05C
R3/SW1/3/33 | 41 | 8-329-07A
| 42 | 8-329-07B
R3/SW1/7/40 | 43 | 8-329-07C
| 44 | 8-329-07D
R3/SW1/3/34 | 45 | 8-329-09A
| 46 | 8-329-09B
| 47 | 8-329-09C
R3/SW1/3/35 | 48 | 8-329B-01A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-K | R3-DATA-PP-C | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-329B-01B |  |  |  |  | 8-438C
| 2 | 8-329B-01C
R3/SW1/7/14 | 3 | 8-327-01A
| 4 | 8-327-01B
| 5 | 8-327-01C
| 6 | 8-327-03A
R2/SW1/9/25 | 7 | 8-327-03B
| 8 | 8-327-03C
| 9 | 8-327-03D
PP - PORT 20 / VG - PORT 19 | 10 | 8-327-05A
| 11 | 8-327-05B
| 12 | 8-327-05C
R3/SW1/3/36 | 13 | 8-327-07A
| 14 | 8-327-07B
R3/SW1/7/41 | 15 | 8-327-07C
| 16 | 8-327-07D
R3/SW1/3/37 | 17 | 8-327-09A
| 18 | 8-327-09B
| 19 | 8-327-09C
R3/SW1/3/38 | 20 | 8-327B-01A
| 21 | 8-327B-01B
| 22 | 8-327B-01C
R3/SW1/3/39 | 23 | CORR.8-320Z-01A
| 24 | CORR.8-320Z-01B
R3/SW1/7/16 | 25 | 8-320A-01A
| 26 | 8-320A-01B
| 27 | 8-320A-01C
R3/SW1/7/17 | 28 | CORR.8-320Z-03A
| 29 | CORR.8-320Z-03B
R3/SW1/7/18 | 30 | 8-354-01A
| 31 | 8-354-01B
| 32 | 8-354-01C
R3/SW1/7/19 | 33 | 8-356-01A
R3/SW1/7/20 | 34 | 8-358-01A
| 35 | 8-358-01B
| 36 | 8-358-01C
R3/SW1/3/40 | 37 | 8-358-03A
R3/SW1/8/30 | 38 | 8-358-03B
| 39 | 8-358-03C
R3/SW1/3/41 | 40 | 8-358-05A
| 41 | 8-358-05B
| 42 | 8-358-05C
R3/SW1/3/42 | 43 | 8-364-01A
R3/SW1/8/27 | 44 | 8-364-01B
| 45 | 8-364-01C
R3/SW1/3/43 | 46 | 8-364-03A
| 47 | 8-364-03B
| 48 | 8-364-03C
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-L | R3-DATA-PP-D | TERMINATED | PLATED | TESTED | NOTES
R3/SW1/7/21 | 1 | 8-364-05A |  |  |  |  | 8-438C
| 2 | 8-364-05B
| 3 | 8-364-05C
R3/SW1/7/22 | 4 | 8-364-07A
R3/SW1/4/22 | 5 | 8-364-07B
| 6 | 8-364-07C
R3/SW1/7/23 | 7 | 8-364A-01A
| 8 | 8-364A-01B
| 9 | 8-364A-01C
R3/SW1/7/24 | 10 | 8-364A-03A
R3/SW1/4/23 | 11 | 8-364A-03B
| 12 | 8-364A-03C
R3/SW1/3/44 | 13 | 8-364B-01A
| 14 | 8-364B-01B
| 15 | 8-364B-01C
R3/SW1/3/45 | 16 | 8-364D-01A
| 17 | 8-364D-01B
| 18 | 8-364D-01C
R3/SW1/3/46 | 19 | 8-364F-01A
| 20 | 8-364F-01B
| 21 | 8-364F-01C
R3/SW1/3/47 | 22 | 8-364G-01A
| 23 | 8-364G-01B
| 24 | 8-364G-01C
R3/SW1/8/1 | 25 | 8-366H-01A
| 26 | 8-366H-01B
| 27 | 8-366H-01C
R3/SW1/8/2 | 28 | 8-352-01A
| 29 | 8-352-01B
| 30 | 8-352-01C
R3/SW1/8/3 | 31 | CORR.8-420Z-01A
| 32 | CORR.8-420Z-01B
R3/SW1/8/4 | 33 | CORR.8-420Z-03A
| 34 | CORR.8-420Z-03B
R3/SW1/8/5 | 35 | CORR.8-420Z-05A
| 36 | CORR.8-420Z-05B
R3/SW1/3/48 | 37 | CORR.8-420Z-07A
| 38 | CORR.8-420Z-07B
R3/SW1/4/25 | 39 | 8-436-01A
| 40 | 8-436-01B
| 41 | 8-436-01C
R3/SW1/4/26 | 42 | 8-402-01A
R3/SW1/7/42 | 43 | 8-402-01B
R2/SW1/9/12 | 44 | 8-402-03A
R3/SW1/7/43 | 45 | 8-402-03B
| 46 | 8-402-03C
| 47 | 8-402-03D
R3/SW1/4/27 | 48 | 8-402-05A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-M | R3-DATA-PP-E | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-402-05B |  |  |  |  | 8-438C
| 2 | 8-402-05C
R3/SW1/8/6 | 3 | 8-402-07A
| 4 | 8-402-07B
| 5 | 8-402-07C
R3/SW1/8/7 | 6 | 8-402-09A
| 7 | 8-402-09B
| 8 | 8-402-09C
R3/SW1/8/8 | 9 | 8-402-11A
| 10 | 8-402-11B
| 11 | 8-402-11C
R3/SW1/8/9 | 12 | CORR.8-410Z-01A
| 13 | CORR.8-410Z-01B
R3/SW1/4/28 | 14 | CORR.8-410Z-03A
| 15 | CORR.8-410Z-03B
R3/SW1/4/29 | 16 | 8-402-13A
| 17 | 8-402-13B
| 18 | 8-402-13C
R3/SW1/4/30 | 19 | 8-402-15A
| 20 | 8-402-15B
| 21 | 8-402-15C
R3/SW1/4/31 | 22 | 8-402-17A
| 23 | 8-402-17B
| 24 | 8-402-17C
R3/SW1/8/10 | 25 | 8-404-01A
| 26 | 8-404-01B
| 27 | 8-404-01C
R3/SW1/8/11 | 28 | 8-404-03A
| 29 | 8-404-03B
| 30 | 8-404-03C
R3/SW1/8/12 | 31 | 8-404-05A
| 32 | 8-404-05B
| 33 | 8-404-05C
R3/SW1/8/13 | 34 | 8-404-07A
| 35 | 8-404-07B
| 36 | 8-404-07C
R3/SW1/4/32 | 37 | 8-404-09A
| 38 | 8-404-09B
| 39 | 8-404-09C
R3/SW1/4/33 | 40 | 8-404-11A
R3/SW1/7/44 | 41 | 8-404-11B
R3/SW1/4/34 | 42 | 8-404-13A
R3/SW1/7/45 | 43 | 8-404-13B
R3/SW1/4/35 | 44 | 8-404-15A
| 45 | 8-404-15B
| 46 | 8-404-15C
R3/SW1/4/36 | 47 | 8-404-17A
| 48 | 8-404-17B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-N | R3-DATA-PP-F | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-404-17C |  |  |  |  | 8-438C
R3/SW1/8/14 | 2 | 8-404-19A
| 3 | 8-404-19B
| 4 | 8-404-19C
R3/SW1/8/15 | 5 | 8-404-21A
| 6 | 8-404-21B
| 7 | 8-404-21C
R3/SW1/8/16 | 8 | 8-404-23A
| 9 | 8-404-23B
| 10 | 8-404-23C
R3/SW1/8/17 | 11 | 8-404-25A
| 12 | 8-404-25B
| 13 | 8-404-25C
R3/SW1/4/37 | 14 | 8-406-01A
| 15 | 8-406-01B
R3/SW1/7/46 | 16 | 8-406-01C
| 17 | 8-406-01D
R3/SW1/4/38 | 18 | 8-406-03A
| 19 | 8-406-03B
| 20 | 8-406-03C
R3/SW1/4/39 | 21 | 8-406-05A
| 22 | 8-406-05B
| 23 | 8-406-05C
R3/SW1/4/40 | 24 | 8-406-07A
R3/SW1/4/24 | 25 | 8-406-07B
| 26 | 8-406-07C
R3/SW1/8/18 | 27 | 8-406-09A
R3/SW1/9/1 | 28 | 8-406-09B
| 29 | 8-406-09C
R3/SW1/8/19 | 30 | 8-412-01A
R3/SW1/4/18 | 31 | 8-412-01B
R3/SW1/9/2 | 32 | 8-412-01C
| 33 | 8-412-01D
R3/SW1/8/20 | 34 | 8-412-03A
| 35 | 8-412-03B
| 36 | 8-412-03C
R3/SW1/4/41 | 37 | 8-412-05A
R3/SW1/8/28 | 38 | 8-412-05B
| 39 | 8-412-05C
R3/SW1/4/42 | 40 | 8-412-07A
R3/SW1/8/29 | 41 | 8-412-07B
| 42 | 8-412-07C
R3/SW1/4/43 | 43 | 8-442-01A
| 44 | 8-442-01B
| 45 | 8-442-01C
R3/SW1/4/44 | 46 | 8-442-03A
| 47 | 8-442-03B
| 48 | 8-442-03C
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-O | R3-DATA-PP-G | TERMINATED | PLATED | TESTED | NOTES
R3/SW1/8/21 | 1 | 8-442-05A |  |  |  |  | 8-438C
| 2 | 8-442-05B
| 3 | 8-442-05C
| 4 |  |  |  |  | MISSING
R3/SW1/8/22 | 5 | 8-442-07A
R3/SW1/4/19 | 6 | 8-442-07B
| 7 | 8-442-07C
R3/SW1/8/23 | 8 | 8-442-09A
R3/SW1/4/20 | 9 | 8-442-09B
| 10 | 8-442-09C
R3/SW1/8/24 | 11 | 8-373-01A
| 12 | 8-373-01B
R3/SW1/4/45 | 13 | 8-442-11A
R2/SW1/9/26 | 14 | 8-442-11B
R3/SW1/4/46 | 15 | 8-442-13A
R3/SW1/7/47 | 16 | 8-442-13B
| 17 | 8-442-13C
R3/SW1/4/47 | 18 | 8-444-01A
| 19 | 8-444-01B
| 20 | 8-444-01C
R3/SW1/4/48 | 21 | 8-444-03A
| 22 | 8-444-03B
| 23 | 8-444-03C
R3/SW1/7/25 | 24 | 8-444-05A
R3/SW1/7/1 | 25 | 8-444-05B
| 26 | 8-444-05C
R3/SW1/4/1 | 27 | 8-446-01A
R3/SW1/4/2 | 28 | 8-448-01A
R3/SW1/4/3 | 29 | 8-448-03A
R3/SW1/3/24 | 30 | 8-448-03B
| 31 | 8-448-03C
R3/SW1/4/4 | 32 | 8-448-05A
R2/SW1/9/27 | 33 | 8-448-05B
R3/SW1/4/5 | 34 | 8-448-07A
R3/SW1/3/23 | 35 | 8-448-07B
R3/SW1/3/22 | 36 | 8-448-07C
R3/SW1/7/26 | 37 | 8-448-09A
| 38 | 8-448-09B
R3/SW1/7/27 | 39 | 8-452-01A
| 40 | 8-452-01B
| 41 | 8-452-01C
| 42 |  |  |  |  | MISSING
R3/SW1/7/28 | 43 | 8-444A-01A
| 44 | 8-444A-01B
R3/SW1/7/29 | 45 | 8-444A-03A
| 46 | 8-444A-03B
R3/SW1/7/30 | 47 | 8-444A-05A
R3/SW1/7/48 | 48 | 8-444A-05B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-P | R3-DATA-PP-H | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-444A-05C |  |  |  |  | 8-438C
R3/SW1/4/6 | 2 | 8-444A-07A
R3/SW1/4/21 | 3 | 8-444A-07B
| 4 | 8-444A-07C
R3/SW1/4/7 | 5 | 8-418-01A
| 6 | 8-418-01B
R3/SW1/4/8 | 7 | 8-418-03A
| 8 | 8-418-03B
R3/SW1/4/9 | 9 | 8-418-05A
| 10 | 8-418-05B
| 11 | 8-418-05C
R3/SW1/4/10 | 12 | 8-418-07A
| 13 | 8-418-07B
R3/SW1/7/31 | 14 | 8-418-09A
| 15 | 8-418-09B
R3/SW1/7/32 | 16 | 8-418-11A
| 17 | 8-418-11B
| 18 | 8-418-11C
R3/SW1/7/33 | 19 | 8-418-13A
| 20 | 8-418-13B
| 21 | 8-418-13C
R3/SW1/7/34 | 22 | 8-418-15A
| 23 | 8-418-15B
R3/SW1/7/35 | 24 | 8-418-17A
| 25 | 8-418-17B
| 26 | 8-418-17C
R3/SW1/4/11 | 27 | 8-422-01A
| 28 | 8-422-01B
| 29 | 8-422-01C
R3/SW1/4/12 | 30 | 8-422-03A
R3/SW1/3/21 | 31 | 8-422-03B
| 32 | 8-422-03C
R3/SW1/4/13 | 33 | 8-422-05A
| 34 | 8-422-05B
| 35 | 8-422-05C
R3/SW1/4/14 | 36 | 8-422-07A
| 37 | 8-422-07B
| 38 | 8-422-07C
R3/SW1/7/36 | 39 | 8-422-09A
| 40 | 8-422-09B
R3/SW1/8/25 | 41 | 8-422-09C
| 42 | 8-422-09D
R3/SW1/7/37 | 43 | 8-424-01A
| 44 | 8-424-01B
R3/SW1/8/26 | 45 | 8-424-01C
| 46 | 8-424-01D
R3/SW1/7/38 | 47 | 8-424-03A
| 48 | 8-424-03B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-Q | R2-DATA-PP-J | TERMINATED | PLATED | TESTED | NOTES
| 1 | 8-424-03C |  |  |  |  | 8-438C
R2/SW1/4/10 | 2 | 8-424-05A
| 3 | 8-424-05B
| 4 | 8-424-05C
R2/SW1/4/11 | 5 | 8-424-07A
| 6 | 8-424-07B
| 7 | 8-424-07C
R2/SW1/4/12 | 8 | 8-426-01A
| 9 | 8-426-01B
| 10 | 8-426-01C
R2/SW1/4/13 | 11 | 8-426-03A
R2/SW1/3/19 | 12 | 8-426-03B
| 13 | 8-426-03C
R2/SW1/7/35 | 14 | 8-426-05A
| 15 | 8-426-05B
| 16 | 8-426-05C
R2/SW1/7/36 | 17 | 8-426-07A
| 18 | 8-426-07B
| 19 | 8-426-07C
R2/SW1/7/37 | 20 | 8-426-09A
| 21 | 8-426-09B
R2/SW1/2/30 | 22 | 8-426-09C
| 23 | 8-426-09D
R2/SW1/7/38 | 24 | 8-428-01A
| 25 | 8-428-01B
| 26 | 8-428-01C
R2/SW1/4/14 | 27 | 8-428-03A
R2/SW1/3/20 | 28 | 8-428-03B
| 29 | 8-428-03C
R2/SW1/4/15 | 30 | 8-428-05A
| 31 | 8-428-05B
| 32 | 8-428-05C
R2/SW1/4/16 | 33 | 8-428-07A
| 34 | 8-428-07B
| 35 | 8-428-07C
R2/SW1/4/17 | 36 | 8-428-09A
| 37 | 8-428-09B
R2/SW1/2/29 | 38 | 8-428-09C
| 39 | 8-428-09D
R2/SW1/4/10 | 40 | 8-438C-01A |  |  |  | temp cord in use
R2/SW1/1/1 | 41 | 8-438C-01B
R2/SW1/7/39 | 42 | 8-438C-03A
R2/SW1/1/2 | 43 | 8-438C-03B
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-R | R2-DATA-PP-K | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/4/18 | 1 | 8-445-01 |  |  |  |  | 8-438C
R2/SW1/4/19 | 2 | 8-445-02
R2/SW1/4/20 | 3 | 8-445-03
R2/SW1/4/21 | 4 | 8-445-04
R2/SW1/4/22 | 5 | 8-445-05
R2/SW1/4/23 | 6 | 8-445-06
R2/SW1/4/24 | 7 | 8-445-07
R2/SW1/7/40 | 8 | 8-445-08
R2/SW1/7/41 | 9 | 8-445-09
R2/SW1/7/42 | 10 | 8-445-10
R2/SW1/7/43 | 11 | 8-445-11
R2/SW1/7/44 | 12 | 8-445-12
R2/SW1/7/45 | 13 | 8-445-13
R2/SW1/7/46 | 14 | 8-445-14
R2/SW1/7/47 | 15 | 8-445-15
R2/SW1/7/48 | 16 | 8-445-16
R2/SW1/8/25 | 17 | 8-445-17
R2/SW1/8/26 | 18 | 8-445-18
R2/SW1/8/27 | 19 | 8-445-19
R2/SW1/8/28 | 20 | 8-445-20
R2/SW1/8/29 | 21 | 8-445-21
R2/SW1/8/30 | 22 | 8-445-22
R2/SW1/8/31 | 23 | 8-445-23
R2/SW1/8/32 | 24 | 8-445-24
R2/SW1/8/33 | 25 | 8-445-25
R2/SW1/8/34 | 26 | 8-445-26
R2/SW1/8/35 | 27 | 8-445-27
R2/SW1/8/36 | 28 | 8-445-28
R2/SW1/8/37 | 29 | 8-445-29
R2/SW1/8/38 | 30 | 8-445-30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-BMS-PP-C | TERINATED | PLATED | TESTED | NOTES
| 1 | CORR.8-440Z-01A |  |  |  |  | 8-438C
| 2 | CORR.8-440Z-01B
| 3 | 8-444-01A
| 4 | 8-444-01B
| 5 | 8-501-01A
| 6 | 8-501-01B
| 7 | 8-417B-01A
| 8 | 8-417B-01B
| 9 | 8-415B-01A
| 10 | 8-415B-01B
| 11 | CORR.8-410Z-01A
| 12 | CORR.8-410Z-01B
| 13 | 8-436-01A
| 14 | 8-436-01B
| 15 | 8-432E-01A
| 16 | 8-432E-01B
| 17 | 8-432E-03A
| 18 | 8-432E-03B
| 19 | 8-432E-05A
| 20 | 8-432E-05B
| 21 | 8-432E-07A
| 22 | 8-432E-07B
| 23 | 8-432E-09A
| 24 | 8-432E-09B
| 25 | 8-432E-11A
| 26 | 8-432E-11B
| 27 | CORR.8-320Z-01A
| 28 | CORR.8-320Z-01B
| 29 | CORR.8-320Z-03A
| 30 | CORR.8-320Z-03B
| 31 | 8-438C-01A
R2/SW1/1/3 | 32 | 8-438C-01B
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-CAM-PP-D | TERINATED | PLATED | TESTED | NOTES
| 1 | CORR.8-410Z-01A |  |  |  |  | 8-438C
| 2 | 8-444-01A
| 3 | 8-422-01A
| 4 | 8-424-01A
| 5 | 8-426-01A
| 6 | 8-406-01A
| 7 | 8-412-01A
| 8 | CORR.8-410Z-03A
| 9 | 8-358-01A
| 10 | CORR.8-410Z-05A
| 11 | CORR.8-410Z-07A
| 12 | 8-005X-STAIR 2-01A
| 13 | 8-438C-01A
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-WAP-PP-E | TERINATED | PLATED | TESTED | NOTES
R2/SW1/1/48 | 1 | 8-505-01A |  |  |  |  | 8-438C
| 2 | 8-505-01B
R2/SW1/1/47 | 3 | 8-427-01A
| 4 | 8-427-01B
R2/SW1/1/46 | 5 | 8-425-01A
| 6 | 8-425-01B
R2/SW1/1/45 | 7 | 8-419-01A
| 8 | 8-419-01B
R2/SW1/1/44 | 9 | 8-444A-01A
| 10 | 8-444A-01B
R2/SW1/1/43 | 11 | CORR.8-410Z-01A
| 12 | CORR.8-410Z-01B
R2/SW1/1/42 | 13 | 8-413-01A
| 14 | 8-413-01B
R2/SW1/1/41 | 15 | 8-402-01A
| 16 | 8-402-01B
R2/SW1/1/40 | 17 | 8-404-01A
| 18 | 8-404-01B
R2/SW1/1/39 | 19 | 8-412-01A
| 20 | 8-412-01B
R2/SW1/1/38 | 21 | 8-407-01A
| 22 | 8-407-01B
R2/SW1/1/37 | 23 | 8-356-01A
| 24 | 8-356-01B
R2/SW1/1/36 | 25 | CORR.8-410Z-03A
| 26 | CORR.8-410Z-03B
R2/SW1/1/35 | 27 | 8-401-01A
| 28 | 8-401-01B
R2/SW1/1/34 | 29 | 8-333-01A
| 30 | 8-333-01B
R2/SW1/1/33 | 31 | 8-331-01A
| 32 | 8-331-01B
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48