## 9TH FLOOR ACTIVATIONS
9th Floor IDF (122C East)
IDF BUILDOUT
NOTES
RACKS MOUNTED
CABLE TRAY INSTALLED
DATA TERMINATED
BONDING
| FIBER TERMINATED |  | PRIMARY | SECONDARY
| FIBER TESTED |  | PRIMARY | SECONDARY
25 PAIR TERMINATED
25 PAIR TESTED
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R2-DATA-PP-A | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/6/01 | 1 | 9-213-01A
| 2 | 9-213-01B
R2/SW1/6/02 | 3 | 9-213-03A
| 4 | 9-213-03B
R2/SW1/6/03 | 5 | 9-213-05A
| 6 | 9-213-05B
| 7 | 9-213-05C
R2/SW1/6/04 | 8 | 9-213-07A
| 9 | 9-213-07B
R2/SW1/6/05 | 10 | 9-209-01A
| 11 | 9-209-01B
| 12 | 9-209-01C
R2/SW1/7/48 | 13 | 9-209-03A
| 14 | 9-209-03B
| 15 | 9-209-03C
| 16 | 9-209-03D
R2/SW1/6/48 | 17 | 9-209-05A
| 18 | 9-209-05B
| 19 | 9-209-05C
R2/SW1/6/47 | 20 | 9-209-07A
| 21 | 9-209-07B
| 22 | 9-209-07C
| 23 | 9-209-07D
R2/SW1/6/46 | 24 | 9-209-09A
| 25 | 9-209-09B
| 26 | 9-209-09C
R2/SW1/6/06 | 27 | 9-209B-01A
| 28 | 9-209B-01B
| 29 | 9-209B-01C
R2/SW1/6/07 | 30 | 9-207-01A
| 31 | 9-207-01B
| 32 | 9-207-01C
R2/SW1/7/01 | 33 | 9-207-03A
| 34 | 9-207-03B
| 35 | 9-207-03C
| 36 | 9-207-03D
R2/SW1/6/45 | 37 | 9-207-05A
| 38 | 9-207-05B
| 39 | 9-207-05C
R2/SW1/6/44 | 40 | 9-207-07A
| 41 | 9-207-07B
| 42 | 9-207-07C
| 43 | 9-207-07D
R2/SW1/6/43 | 44 | 9-207-09A
| 45 | 9-207-09B
| 46 | 9-207-09C
R2/SW1/6/42 | 47 | 9-207B-01A
| 48 | 9-207B-01B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-B | R2-DATA-PP-B | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-207B-01C |  |  |  |  | 9-122C
R2/SW1/6/8 | 2 | 9-205-01A
| 3 | 9-205-01B
| 4 | 9-205-01C
R2/SW1/7/2 | 5 | 9-205-03A
| 6 | 9-205-03B
| 7 | 9-205-03C
| 8 | 9-205-03D
R2/SW1/6/9 | 9 | 9-205-05A
| 10 | 9-205-05B
| 11 | 9-205-05C
R2/SW1/6/10 | 12 | 9-205-07A
| 13 | 9-205-07B
| 14 | 9-205-07C
| 15 | 9-205-07D
R2/SW1/6/41 | 16 | 9-205-09A
| 17 | 9-205-09B
| 18 | 9-205-09C
R2/SW1/6/40 | 19 | 9-205B-01A
| 20 | 9-205B-01B
| 21 | 9-205B-01C
R2/SW1/6/39 | 22 | CORR.9-200Z-01A
| 23 | CORR.9-200Z-01B
R2/SW1/6/37 | 24 | CORR.9-200Z-03A
| 25 | CORR.9-200Z-03B
R2/SW1/6/11 | 26 | 5-203-01A
| 27 | 5-203-01B
| 28 | 5-203-01C
R2/SW1/7/3 | 29 | 5-203-03A
| 30 | 5-203-03B
| 31 | 5-203-03C
| 32 | 5-203-03D
R2/SW1/6/12 | 33 | 5-203-05A
| 34 | 5-203-05B
| 35 | 5-203-05C
R2/SW1/6/13 | 36 | 5-203-07A
| 37 | 5-203-07B
| 38 | 5-203-07C
| 39 | 5-203-07D
R2/SW1/6/37 | 40 | 5-203-09A
| 41 | 5-203-09B
| 42 | 5-203-09C
R2/SW1/6/36 | 43 | 5-203B-01A
| 44 | 5-203B-01B
| 45 | 5-203B-01C
R2/SW1/6/35 | 46 | 9-201-01A
| 47 | 9-201-01B
| 48 | 9-201-01C
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-C | R2-DATA-PP-C | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/7/48 | 1 | 9-201-03A |  |  |  |  | 9-122C
| 2 | 9-201-03B
| 3 | 9-201-03C
| 4 | 9-201-03D
R2/SW1/6/14 | 5 | 9-201-05A
| 6 | 9-201-05B
| 7 | 9-201-05C
R2/SW1/6/15 | 8 | 9-201-07A
| 9 | 9-201-07B
| 10 | 9-201-07C
| 11 | 9-201-07D
R2/SW1/6/16 | 12 | 9-201-09A
| 13 | 9-201-09B
| 14 | 9-201-09C
R2/SW1/6/34 | 15 | 9-201B-01A
| 16 | 9-201B-01B
| 17 | 9-201B-01C
R2/SW1/6/33 | 18 | 9-211-01A
| 19 | 9-211-01B
| 20 | 9-211-01C
R2/SW1/7/47 | 21 | 9-211-03A
| 22 | 9-211-03B
| 23 | 9-211-03C
| 24 | 9-211-03D
R2/SW1/6/17 | 25 | 9-211-05A
| 26 | 9-211-05B
| 27 | 9-211-05C
R2/SW1/6/18 | 28 | 9-211-07A
| 29 | 9-211-07B
| 30 | 9-211-07C
| 31 | 9-211-07D
R2/SW1/6/19 | 32 | 9-211-09A
| 33 | 9-211-09B
| 34 | 9-211-09C
R2/SW1/6/20 | 35 | 9-211B-01A
| 36 | 9-211B-01B
| 37 | 9-211B-01C
R2/SW1/6/32 | 38 | 9-100A-01A
| 39 | 9-100A-01B
| 40 | 9-100A-01C
R2/SW1/6/31 | 41 | 9-117-01A
| 42 | 9-117-01B
| 43 | 9-117-01C
R2/SW1/7/46 | 44 | 9-117-03A
| 45 | 9-117-03B
| 46 | 9-117-03C
| 47 | 9-117-03D
R2/SW1/6/30 | 48 | 9-117-05A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-D | R2-DATA-PP-D | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-117-05B |  |  |  |  | 9-122C
| 2 | 9-117-05C
R2/SW1/6/21 | 3 | 9-117-07A
| 4 | 9-117-07B
| 5 | 9-117-07C
| 6 | 9-117-07D
R2/SW1/6/22 | 7 | 9-117-09A
| 8 | 9-117-09B
| 9 | 9-117-09C
R2/SW1/6/23 | 10 | 9-117B-01A
| 11 | 9-117B-01B
| 12 | 9-117B-01C
R2/SW1/6/29 | 13 | 9-115-01A
| 14 | 9-115-01B
| 15 | 9-115-01C
R2/SW1/7/45 | 16 | 9-115-03A
| 17 | 9-115-03B
| 18 | 9-115-03C
| 19 | 9-115-03D
R2/SW1/6/28 | 20 | 9-115-05A
| 21 | 9-115-05B
| 22 | 9-115-05C
R2/SW1/6/27 | 23 | 9-115-07A
| 24 | 9-115-07B
| 25 | 9-115-07C
| 26 | 9-115-07D
R2/SW1/6/24 | 27 | 9-115-09A
| 28 | 9-115-09B
| 29 | 9-115-09C
R2/SW1/5/1 | 30 | 9-115B-01A
| 31 | 9-115B-01B
| 32 | 9-115B-01C
R2/SW1/5/2 | 33 | 9-113-01A
| 34 | 9-113-01B
| 35 | 9-113-01C
R2/SW1/7/5 | 36 | 9-113-03A
| 37 | 9-113-03B
| 38 | 9-113-03C
| 39 | 9-113-03D
R2/SW1/6/26 | 40 | 9-113-05A
| 41 | 9-113-05B
| 42 | 9-113-05C
R2/SW1/6/25 | 43 | 9-113-07A
| 44 | 9-113-07B
| 45 | 9-113-07C
| 46 | 9-113-07D
R2/SW1/5/48 | 47 | 9-113-09A
| 48 | 9-113-09B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-E | R2-DATA-PP-E | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-113-09C |  |  |  |  | 9-122C
R2/SW1/5/3 | 2 | 9-113B-01A
| 3 | 9-113B-01B
| 4 | 9-113B-01C
R2/SW1/5/4 | 5 | 9-111-01A
| 6 | 9-111-01B
| 7 | 9-111-01C
R2/SW1/7/6 | 8 | 9-111-03A
| 9 | 9-111-03B
| 10 | 9-111-03C
| 11 | 9-111-03D
R2/SW1/5/5 | 12 | 9-111-05A
| 13 | 9-111-05B
| 14 | 9-111-05C
R2/SW1/5/47 | 15 | 9-111-07A
| 16 | 9-111-07B
| 17 | 9-111-07C
| 18 | 9-111-07D
R2/SW1/5/46 | 19 | 9-111-09A
| 20 | 9-111-09B
| 21 | 9-111-09C
R2/SW1/5/45 | 22 | 9-111B-01A
| 23 | 9-111B-01B
| 24 | 9-111B-01C
R2/SW1/5/6 | 25 | CORR.9-100Z-01A
| 26 | CORR.9-100Z-01B
R2/SW1/5/7 | 27 | 9-109-01A
| 28 | 9-109-01B
| 29 | 9-109-01C
R2/SW1/7/7 | 30 | 9-109-03A
| 31 | 9-109-03B
| 32 | 9-109-03C
| 33 | 9-109-03D
R2/SW1/5/8 | 34 | 9-109-05A
| 35 | 9-109-05B
| 36 | 9-109-05C
R2/SW1/5/44 | 37 | 9-109-07A
| 38 | 9-109-07B
| 39 | 9-109-07C
| 40 | 9-109-07D
R2/SW1/5/43 | 41 | 9-109-09A
| 42 | 9-109-09B
| 43 | 9-109-09C
R2/SW1/5/42 | 44 | 9-109B-01A
| 45 | 9-109B-01B
| 46 | 9-109B-01C
R2/SW1/5/41 | 47 | 9-107-01A
| 48 | 9-107-01B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-F | R2-DATA-PP-F | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-107-01C |  |  |  |  | 9-122C
R2/SW1/7/8 | 2 | 9-107-03A
| 3 | 9-107-03B
| 4 | 9-107-03C
| 5 | 9-107-03D
R2/SW1/5/9 | 6 | 9-107-05A
| 7 | 9-107-05B
| 8 | 9-107-05C
R2/SW1/5/10 | 9 | 9-107-07A
| 10 | 9-107-07B
| 11 | 9-107-07C
| 12 | 9-107-07D
R2/SW1/5/40 | 13 | 9-107-09A
| 14 | 9-107-09B
| 15 | 9-107-09C
R2/SW1/5/39 | 16 | 9-107B-01A
| 17 | 9-107B-01B
| 18 | 9-107B-01C
R2/SW1/5/38 | 19 | 9-105-01A
| 20 | 9-105-01B
| 21 | 9-105-01C
R2/SW1/7/44 | 22 | 9-105-03A
| 23 | 9-105-03B
| 24 | 9-105-03C
| 25 | 9-105-03D
R2/SW1/5/11 | 26 | 9-105-05A
| 27 | 9-105-05B
| 28 | 9-105-05C
R2/SW1/5/12 | 29 | 9-105-07A
| 30 | 9-105-07B
| 31 | 9-105-07C
| 32 | 9-105-07D
R2/SW1/5/13 | 33 | 9-105-09A
| 34 | 9-105-09B
| 35 | 9-105-09C
R2/SW1/5/14 | 36 | 9-105B-01A
| 37 | 9-105B-01B
| 38 | 9-105B-01C
R2/SW1/5/37 | 39 | 9-202-01A
| 40 | 9-202-01B
| 41 | 9-202-01C
R2/SW1/5/36 | 42 | 9-204-01A
| 43 | 9-204-01B
| 44 | 9-204-01C
R2/SW1/5/35 | 45 | 9-204-03A
| 46 | 9-204-03B
R2/SW1/5/34 | 47 | 9-206-01A
| 48 | 9-206-01B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-G | R2-DATA-PP-G | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-206-01C |  |  |  |  | 9-122C
R2/SW1/5/15 | 2 | 9-206-03A
| 3 | 9-206-03B
| 4 | 9-206-03C
R2/SW1/5/16 | 5 | 9-206-05A
| 6 | 9-206-05B
| 7 | 9-206-05C
R2/SW1/5/17 | 8 | 9-206-07A
| 9 | 9-206-07B
| 10 | 9-206-07C
R2/SW1/5/18 | 11 | 9-206-09A
| 12 | 9-206-09B
| 13 | 9-206-09C
R2/SW1/5/33 | 14 | 9-206-11A
| 15 | 9-206-11B
| 16 | 9-206-11C
R2/SW1/5/32 | 17 | 9-206-13A
| 18 | 9-206-13B
| 19 | 9-206-13C
R2/SW1/5/31 | 20 | 9-206-15A
| 21 | 9-206-15B
| 22 | 9-206-15C
R2/SW1/5/30 | 23 | 9-206-17A
| 24 | 9-206-17B
| 25 | 9-206-17C
R2/SW1/5/19 | 26 | 9-206-19A
| 27 | 9-206-19B
| 28 | 9-206-19C
R2/SW1/5/20 | 29 | 9-206-21A
| 30 | 9-206-21B
| 31 | 9-206-21C
R2/SW1/5/21 | 32 | 9-206-23A
| 33 | 9-206-23B
| 34 | 9-206-23C
R2/SW1/5/22 | 35 | 9-206-25A
| 36 | 9-206-25B
| 37 | 9-206-25C
R2/SW1/5/29 | 38 | 9-206-27A
| 39 | 9-206-27B
| 40 | 9-206-27C
R2/SW1/5/28 | 41 | 9-206-29A
| 42 | 9-206-29B
| 43 | 9-206-29C
R2/SW1/5/27 | 44 | 9-206-31A
| 45 | 9-206-31B
R2/SW1/5/26 | 46 | 9-206-33A
| 47 | 9-206-33B
R2/SW1/5/25 | 48 | 9-334-01A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-H | R2-DATA-PP-H | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-334-01B |  |  |  |  | 9-122C
| 2 | 9-334-01C
R2/SW1/5/23 | 3 | 9-334-03A
| 4 | 9-334-03B
| 5 | 9-334-03C
R2/SW1/5/24 | 6 | 9-334-05A
| 7 | 9-334-05B
| 8 | 9-334-05C
R3/SW1/7/1 | 9 | 9-334-07A
| 10 | 9-334-07B
| 11 | 9-334-07C
R3/SW1/7/2 | 12 | 9-334-09A
| 13 | 9-334-09B
| 14 | 9-334-09C
R3/SW1/7/48 | 15 | 9-214-01A
| 16 | 9-214-01B
R3/SW1/7/47 | 17 | 9-214-03A
| 18 | 9-214-03B
| 19 | 9-214-03C
R3/SW1/7/46 | 20 | 9-214-05A
| 21 | 9-214-05B
R3/SW1/7/45 | 22 | 9-214-07A
| 23 | 9-214-07B
| 24 | 9-214-07C
R3/SW1/7/3 | 25 | 9-214D-01A
| 26 | 9-214D-01B
| 27 | 9-214D-01C
R3/SW1/7/4 | 28 | 9-214B-01A
| 29 | 9-214B-01B
| 30 | 9-214B-01C
R3/SW1/7/5 | 31 | 9-214A-01A
| 32 | 9-214A-01B
| 33 | 9-214A-01B
R3/SW1/7/6 | 34 | 9-212A-01A
| 35 | 9-212A-01B
| 36 | 9-212A-01C
R3/SW1/7/44 | 37 | 9-212-01A
| 38 | 9-212-01B
| 39 | 9-212-01C
R3/SW1/7/43 | 40 | 9-212-03A
| 41 | 9-212-03B
| 42 | 9-212-03C
R3/SW1/7/42 | 43 | 9-212-05A
| 44 | 9-212-05B
| 45 | 9-212-05C
R3/SW1/7/41 | 46 | 9-212-07A
| 47 | 9-212-07B
| 48 | 9-212-07C
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-I | R3-DATA-PP-A | TERMINATED | PLATED | TESTED | NOTES
R3/SW1/7/7 | 1 | 9-216-01A |  |  |  |  | 9-122C
| 2 | 9-216-01B
| 3 | 9-216-01C
R3/SW1/7/8 | 4 | 9-216-03A
| 5 | 9-216-03B
R3/SW1/7/9 | 6 | 9-224-01A
| 7 | 9-224-01B
| 8 | 9-224-01C
| 9 | 9-216-03C
R3/SW1/7/10 | 10 | 9-228-01A
| 11 | 9-228-01B
| 12 | 9-228-01C
R3/SW1/7/40 | 13 | 9-236E-01A
| 14 | 9-236E-01B
R3/SW1/7/39 | 15 | CORR.9-120Z-01A
| 16 | CORR.9-120Z-01B
R3/SW1/7/38 | 17 | CORR.9-120Z-03A
| 18 | CORR.9-120Z-03B
R3/SW1/7/37 | 19 | CORR.9-220Z-01A
| 20 | CORR.9-220Z-01B
R3/SW1/7/36 | 21 | 9-318-01A
| 22 | 9-318-01B
R3/SW1/7/35 | 23 | 9-314-01A
| 24 | 9-314-01B
| 25 | 9-314-01C
R3/SW1/7/11 | 26 | 9-314-03A
| 27 | 9-314-03B
R3/SW1/7/12 | 28 | 9-312-01A
R3/SW1/7/13 | 29 | 9-308-01A
| 30 | 9-308-01B
| 31 | 9-308-01C
R3/SW1/7/14 | 32 | 9-308-03A
| 33 | 9-308-03B
| 34 | 9-308-03C
R3/SW1/7/15 | 35 | 9-308-05A
| 36 | 9-308-05B
| 37 | 9-308-05C
R3/SW1/7/34 | 38 | 9-306-01A
| 39 | 9-306-01B
| 40 | 9-306-01C
R3/SW1/7/33 | 41 | 9-302-01A
| 42 | 9-302-01B
| 43 | 9-302-01C
R3/SW1/7/32 | 44 | 9-302-03A
| 45 | 9-302-03B
| 46 | 9-302-03C
R3/SW1/7/31 | 47 | 9-302-05A
| 48 | 9-302-05B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-J | R3-DATA-PP-B | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-302-05C |  |  |  |  | 9-122C
R3/SW1/7/16 | 2 | 9-302-07A
| 3 | 9-302-07B
R3/SW1/7/17 | 4 | 9-302-09A
| 5 | 9-302-09B
| 6 | 9-302-09C
R3/SW1/7/18 | 7 | 9-301-01A
| 8 | 9-301-01B
| 9 | 9-301-01C
R3/SW1/7/19 | 10 | 9-301-03A
| 11 | 9-301-03B
| 12 | 9-301-03C
| 13 | 9-301-03D
R3/SW1/7/30 | 14 | 9-301-05A
| 15 | 9-301-05B
| 16 | 9-301-05C
R3/SW1/7/29 | 17 | 9-301-07A
| 18 | 9-301-07B
| 19 | 9-301-07C
| 20 | 9-301-07D
R3/SW1/7/28 | 21 | 9-301-09A
| 22 | 9-301-09B
| 23 | 9-301-09C
R3/SW1/7/27 | 24 | 9-301B-01A
| 25 | 9-301B-01B
| 26 | 9-301B-01C
R3/SW1/7/20 | 27 | OUTSIDE 9-213A-01A
R3/SW1/7/21 | 28 | 9-303-01A
| 29 | 9-303-01B
| 30 | 9-303-01C
R3/SW1/7/22 | 31 | 9-303-03A
| 32 | 9-303-03B
| 33 | 9-303-03C
| 34 | 9-303-03D
R3/SW1/7/23 | 35 | 9-303-05A
| 36 | 9-303-05B
| 37 | 9-303-05C
R3/SW1/7/26 | 38 | 9-303-07A
| 39 | 9-303-07B
| 40 | 9-303-07C
| 41 | 9-303-07D
| 42 | OPEN
R3/SW1/7/25 | 43 | 9-303-09A
| 44 | 9-303-09B
| 45 | 9-303-09C
R3/SW1/6/48 | 46 | 9-303B-01A
| 47 | 9-303B-01B
| 48 | 9-303B-01C
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-K | R3-DATA-PP-C | TERMINATED | PLATED | TESTED | NOTES
R3/SW1/7/24 | 1 | 9-905-01A |  |  |  |  | 9-122C
| 2 | 9-905-01B
| 3 | 9-905-01C
R3/SW1/6/1 | 4 | 9-905-03A
| 5 | 9-905-03B
| 6 | 9-905-03C
| 7 | 9-905-03D
R3/SW1/6/2 | 8 | 9-905-05A
| 9 | 9-905-05B
| 10 | 9-905-05C
R3/SW1/6/3 | 11 | 9-905-07A
| 12 | 9-905-07B
| 13 | 9-905-07C
| 14 | 9-905-07D
R3/SW1/6/47 | 15 | 9-905-09A
| 16 | 9-905-09B
| 17 | 9-905-09C
R3/SW1/6/46 | 18 | 9-905B-01A
| 19 | 9-905B-01B
| 20 | 9-905B-01C
R3/SW1/6/45 | 21 | 9-307-01A
| 22 | 9-307-01B
| 23 | 9-307-01C
R3/SW1/6/44 | 24 | 9-307-03A
| 25 | 9-307-03B
| 26 | 9-307-03C
| 27 | 9-307-03D
R3/SW1/6/4 | 28 | 9-307-05A
| 29 | 9-307-05B
| 30 | 9-307-05C
R3/SW1/6/5 | 31 | 9-307-07A
| 32 | 9-307-07B
| 33 | 9-307-07C
| 34 | 9-307-07D
R3/SW1/6/6 | 35 | 9-307-09A
| 36 | 9-307-09B
| 37 | 9-307-09C
R3/SW1/6/43 | 38 | 9-307B-01A
| 39 | 9-307B-01B
| 40 | 9-307B-01C
R3/SW1/6/42 | 41 | 9-309-01A
| 42 | 9-309-01B
| 43 | 9-309-01C
R3/SW1/6/41 | 44 | 9-309-03A
| 45 | 9-309-03B
| 46 | 9-309-03C
| 47 | 9-309-03D
R3/SW1/6/40 | 48 | 9-309-05A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-L | R3-DATA-PP-D | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-309-05B |  |  |  |  | 9-122C
| 2 | 9-309-05C
R3/SW1/6/7 | 3 | 9-309-07A
| 4 | 9-309-07B
| 5 | 9-309-07C
| 6 | 9-309-07D
R3/SW1/6/8 | 7 | 9-309-09A
| 8 | 9-309-09B
| 9 | 9-309-09C
R3/SW1/6/9 | 10 | 9-309-11A
| 11 | 9-309-11B
| 12 | 9-309-11C
R3/SW1/6/39 | 13 | CORR.9-310Z-01A
| 14 | CORR.9-310Z-01B
R3/SW1/6/38 | 15 | 9-214F-03A
| 16 | 9-214F-03B
| 17 | 9-214F-03C
R3/SW1/6/37 | 18 | 9-214F-01A
| 19 | 9-214F-01B
| 20 | 9-214F-01C
R3/SW1/6/36 | 21 | 9-214G-01A
| 22 | 9-214G-01B
| 23 | 9-214G-01C
| 24 | 9-122C-01A
| 25 | 9-122C-01B
R3/SW1/6/10 | 26 | 9-122C-03A
| 27 | 9-122C-03B
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-BMS-PP-C | TERINATED | PLATED | TESTED | NOTES
| 1 | 9-301-01A |  |  |  |  | 9-122C
| 2 | 9-301-01B
| 3 | CORR.9-200Z-01A
| 4 | CORR.9-200Z-01B
| 5 | CORR.9-100Z-01A
| 6 | CORR.9-100Z-01B
| 7 | 9-236E-01A
| 8 | 9-236E-01B
| 9 | 9-236E-03A
| 10 | 9-236E-03B
| 11 | 9-236E-05A
| 12 | 9-236E-05B
| 13 | 9-236E-07A
| 14 | 9-236E-07B
| 15 | 9-236E-09A
| 16 | 9-236E-09B
| 17 | 9-236E-11A
| 18 | 9-236E-11B
| 19 | CORR.9-100Z-03A
| 20 | CORR.9-100Z-03B
| 21 | CORR.9-120Z-01A
| 22 | CORR.9-120Z-01B
| 23 | 9-306-01A
| 24 | 9-306-01B
| 25 | 9-122C-01A
| 26 | 9-122C-01B
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-CAM-PP-D | TERINATED | PLATED | TESTED | NOTES
| 1 | CORR.9-310Z-01A |  |  |  |  | 9-122C
| 2 | 9-308-01A
| 3 | 9-308-03A
| 4 | 9-222-01A
| 5 | CORR.9200Z-01A
| 6 | 9-270-01A
| 7 | STAIR 9004X-01A
| 8 | 9-122C-01A
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-WAP-PP-E | TERINATED | PLATED | TESTED | NOTES
R2/SW1/1/48 | 1 | 9-213A-01A |  |  |  |  | 9-122C
| 2 | 9-213A-01B
R2/SW1/1/47 | 3 | 9-211-01A
| 4 | 9-211-01B
R2/SW1/1/46 | 5 | CORR.9-200Z-01A
| 6 | CORR.9-200Z-01B
R2/SW1/1/45 | 7 | 9-205-01A
| 8 | 9-205-01B
R2/SW1/1/44 | 9 | 9-201-01A
| 10 | 9-201-01B
R2/SW1/1/43 | 11 | 9-270-01A
| 12 | 9-270-01B
R2/SW1/1/42 | 13 | 9-117-01A
| 14 | 9-117-01B
R2/SW1/1/41 | 15 | 9-111-01A
| 16 | 9-111-01B
R2/SW1/1/40 | 17 | 9-105-01A
| 18 | 9-105-01B
R2/SW1/1/39 | 19 | CORR.9-100Z-01A
| 20 | CORR.9-100Z-01B
R2/SW1/1/38 | 21 | 9-206-01A
| 22 | 9-206-01B
R2/SW1/1/37 | 23 | 9-334-01A
| 24 | 9-334-01B
R2/SW1/1/36 | 25 | 9-214-01A
| 26 | 9-214-01B
R2/SW1/1/35 | 27 | 9-226-01A
| 28 | 9-226-01B
R2/SW1/1/34 | 29 | 9-308-01A
| 30 | 9-308-01B
R2/SW1/1/33 | 31 | 9-310Z-01A
| 32 | 9-310Z-01B
R2/SW1/1/32 | 33 | 9-309-01A
| 34 | 9-309-01B
R2/SW1/1/31 | 35 | 9-303-01A
| 36 | 9-303-01B
37
38
39
40
41
42
43
44
45
46
47
48
TEC
HOME RUNS PULLED
GE
HOME RUNS PULLED
FIELD END PULLED
MOOD
HOME RUNS PULLED
PTP
95% PULLED
9th Floor IDF (334C Center)
IDF BUILDOUT
NOTES
RACKS MOUNTED
CABLE TRAY INSTALLED
| DATA TERMINATED |  | 90% PULLED
BONDING
| FIBER TERMINATED |  | PRIMARY | SECONDARY
| FIBER TESTED |  | PRIMARY | SECONDARY
25 PAIR TERMINATED
25 PAIR TESTED
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R2-DATA-PP-A | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/3/24 | 1 | 9-106-07A
| 2 | 9-106-07B
| 3 | 9-106-07C
R2/SW1/3/23 | 4 | 9-106-05A
| 5 | 9-106-05B
| 6 | 9-106-05C
R2/SW1/3/22 | 7 | 9-106-03A
| 8 | 9-106-03B
R2/SW1/3/21 | 9 | 9-106-01A
| 10 | 9-106-01B
| 11 | 9-106-01C
R2/SW1/3/20 | 12 | 9-106-11A
R2/SW1/3/48 | 13 | 9-106-13A
| 14 | 9-106-13B
| 15 | 9-106-13C
R2/SW1/4/48 | 16 | 9-106-15A
| 17 | 9-106-15B
| 18 | 9-106-15C
| 19 | 9-106-15D
R2/SW1/3/47 | 20 | 9-106-17A
| 21 | 9-106-17B
| 22 | 9-106-17C
R2/SW1/3/46 | 23 | 9-106-19A
| 24 | 9-106-19B
| 25 | 9-106-19C
R2/SW1/3/19 | 26 | 9-106-21A
| 27 | 9-106-21B
| 28 | 9-106-21C
R2/SW1/3/18 | 29 | 9-106-23A
| 30 | 9-106-23B
R2/SW1/3/17 | 31 | 9-106-25A
| 32 | 9-106-25B
R2/SW1/3/16 | 33 | 9-108-01A
| 34 | 9-108-01B
| 35 | 9-108-01C
R2/SW1/3/15 | 36 | 9-108-03A
| 37 | 9-108-03B
| 38 | 9-108-03C
R2/SW1/3/45 | 39 | 9-017-01A
| 40 | 9-017-01B
R2/SW1/3/44 | 41 | 9-108-05A
| 42 | 9-108-05B
| 43 | 9-108-05C
R2/SW1/3/43 | 44 | 9-108-07A
| 45 | 9-108-07B
| 46 | 9-108-07C
R2/SW1/3/42 | 47 | 9-112-01A
| 48 | 9-112-01B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-B | R2-DATA-PP-B | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/3/14 | 1 | 9-114-01A |  |  |  |  | 9-334C
| 2 | 9-114-01B
| 3 | 9-114-01C
R2/SW1/3/13 | 4 | 9-114-03A
| 5 | 9-114-03B
| 6 | 9-114-03C
R2/SW1/3/12 | 7 | 9-114-05A
| 8 | 9-114-05B
| 9 | 9-114-05C
R2/SW1/3/11 | 10 | 9-114-07A
| 11 | 9-114-07B
| 12 | 9-114-07C
R2/SW1/3/41 | 13 | CORR.9-130Z-01A
R2/SW1/3/40 | 14 | CORR.9-130Z-03A
| 15 | CORR.9-130Z-03B
R2/SW1/3/39 | 16 | 9-328-01A
| 17 | 9-328-01B
| 18 | 9-328-01C
R2/SW1/4/47 | 19 | 9-328-03A
| 20 | 9-328-03B
| 21 | 9-328-03C
| 22 | 9-328-03D
R2/SW1/3/38 | 23 | 9-328-05A
| 24 | 9-328-05B
| 25 | 9-328-05C
R2/SW1/3/10 | 26 | 9-328-07A
| 27 | 9-328-07B
| 28 | 9-328-07C
R2/SW1/3/9 | 29 | 9-328-09A
| 30 | 9-328-09B
| 31 | 9-328-09C
R2/SW1/3/8 | 32 | 9-328-11A
| 33 | 9-328-11B
R2/SW1/3/7 | 34 | CORR.9-310Z-01A
| 35 | CORR.9-310Z-01B
R2/SW1/3/6 | 36 | CORR.9-310Z-03A
| 37 | CORR.9-310Z-03B
R2/SW1/3/7 | 38 | 9-311-01A
| 39 | 9-311-01B
| 40 | 9-311-01C
R2/SW1/4/46 | 41 | 9-311-03A
| 42 | 9-311-03B
| 43 | 9-311-03C
| 44 | 9-311-03D
R2/SW1/3/36 | 45 | 9-311-05A
| 46 | 9-311-05B
| 47 | 9-311-05C
R2/SW1/2/37 | 48 | 9-311-07A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-C | R2-DATA-PP-C | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-311-07B |  |  |  |  | 9-334C
| 2 | 9-311-07C
| 3 | 9-311-07D
R2/SW1/3/5 | 4 | 9-311-09A
| 5 | 9-311-09B
| 6 | 9-311-09C
R2/SW1/3/4 | 7 | 9-311-B01A
| 8 | 9-311-B01B
| 9 | 9-311-B01C
R2/SW1/3/3 | 10 | 9-313-01A
| 11 | 9-313-01B
| 12 | 9-313-01C
R2/SW1/4/45 | 13 | 9-313-03A
| 14 | 9-313-03B
| 15 | 9-313-03C
| 16 | 9-313-03D
R2/SW1/3/35 | 17 | 9-313-05A
| 18 | 9-313-05B
| 19 | 9-313-05C
R2/SW1/3/34 | 20 | 9-313-07A
| 21 | 9-313-07B
| 22 | 9-313-07C
| 23 | 9-313-07D
R2/SW1/3/33 | 24 | 9-313-09A
| 25 | 9-313-09B
| 26 | 9-313-09C
R2/SW1/3/2 | 27 | 9-313B-01A
| 28 | 9-313B-01B
| 29 | 9-313B-01C
R2/SW1/3/1 | 30 | 9-315-01A
| 31 | 9-315-01B
| 32 | 9-315-01C
R2/SW1/4/1 | 33 | 9-315-03A
| 34 | 9-315-03B
| 35 | 9-315-03C
| 36 | 9-315-03D
R2/SW1/3/32 | 37 | 9-315-05A
| 38 | 9-315-05B
| 39 | 9-315-05C
R2/SW1/3/31 | 40 | 9-315-07A
| 41 | 9-315-07B
| 42 | 9-315-07C
| 43 | 9-315-07D
R2/SW1/3/30 | 44 | 9-315-09A
| 45 | 9-315-09B
| 46 | 9-315-09C
R2/SW1/3/29 | 47 | 9-315B-01A
| 48 | 9-315B-01B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-D | R2-DATA-PP-D | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-315B-01C |  |  |  |  | 9-334C
R2/SW1/2/24 | 2 | 9-317-01A
| 3 | 9-317-01B
| 4 | 9-317-01C
R2/SW1/4/2 | 5 | 9-317-03A
| 6 | 9-317-03B
| 7 | 9-317-03C
| 8 | 9-317-03D
R2/SW1/2/23 | 9 | 9-317-05A
| 10 | 9-317-05B
| 11 | 9-317-05C
R2/SW1/2/22 | 12 | 9-317-07A
| 13 | 9-317-07B
| 14 | 9-317-07C
| 15 | 9-317-07D
R2/SW1/3/28 | 16 | 9-317-09A
| 17 | 9-317-09B
| 18 | 9-317-09C
R2/SW1/3/27 | 19 | 9-317B-01A
| 20 | 9-317B-01B
| 21 | 9-317B-01C
R2/SW1/3/26 | 22 | 9-319-01A
| 23 | 9-319-01B
| 24 | 9-319-01C
R2/SW1/4/3 | 25 | 9-319-03A
| 26 | 9-319-03B
| 27 | 9-319-03C
| 28 | 9-319-03D
R2/SW1/2/21 | 29 | 9-319-05A
| 30 | 9-319-05B
| 31 | 9-319-05C
R2/SW1/2/20 | 32 | 9-319-07A
| 33 | 9-319-07B
| 34 | 9-319-07C
| 35 | 9-319-07D
R2/SW1/2/19 | 36 | 9-319-09A
| 37 | 9-319-09B
| 38 | 9-319-09C
R2/SW1/3/25 | 39 | 9-319B-01A
| 40 | 9-319B-01B
| 41 | 9-319B-01C
R2/SW1/2/36 | 42 | 9-321-01A
| 43 | 9-321-01B
| 44 | 9-321-01C
R2/SW1/4/44 | 45 | 9-321-03A
| 46 | 9-321-03B
| 47 | 9-321-03C
| 48 | 9-321-03D
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-E | R2-DATA-PP-E | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/2/18 | 1 | 9-321-05A |  |  |  |  | 9-334C
| 2 | 9-321-05B
| 3 | 9-321-05C
R2/SW1/2/17 | 4 | 9-321-07A
| 5 | 9-321-07B
| 6 | 9-321-07C
| 7 | 9-321-07D
R2/SW1/2/16 | 8 | 9-321-09A
| 9 | 9-321-09B
| 10 | 9-321-09C
R2/SW1/2/15 | 11 | 9-321B-01A
| 12 | 9-321B-01B
| 13 | 9-321B-01C
R2/SW1/2/35 | 14 | 9-323-01A
| 15 | 9-323-01B
| 16 | 9-323-01C
R2/SW1/4/43 | 17 | 9-323-03A
| 18 | 9-323-03B
| 19 | 9-323-03C
| 20 | 9-323-03D
R2/SW1/2/34 | 21 | 9-323-05A
| 22 | 9-323-05B
| 23 | 9-323-05C
R2/SW1/2/33 | 24 | 9-323-07A
| 25 | 9-323-07B
| 26 | 9-323-07C
| 27 | 9-323-07D
R2/SW1/2/14 | 28 | 9-323-09A
| 29 | 9-323-09B
| 30 | 9-323-09C
R2/SW1/2/13 | 31 | 9-323B-01A
| 32 | 9-323B-01B
| 33 | 9-323B-01C
R2/SW1/2/12 | 34 | 9-325-01A
| 35 | 9-325-01B
| 36 | 9-325-01C
R2/SW1/4/42 | 37 | 9-325-03A
| 38 | 9-325-03B
| 39 | 9-325-03C
| 40 | 9-325-03D
R2/SW1/2/32 | 41 | 9-325-05A
| 42 | 9-325-05B
| 43 | 9-325-05C
R2/SW1/2/31 | 44 | 9-325-07A
| 45 | 9-325-07B
| 46 | 9-325-07C
| 47 | 9-325-07D
R2/SW1/2/30 | 48 | 9-325-09A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-F | R2-DATA-PP-F | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-325-09B |  |  |  |  | 9-334C
| 2 | 9-325-09C
R3/SW1/8/33 | 3 | 9-325B-01A
| 4 | 9-325B-01B
| 5 | 9-325B-01C
R3/SW1/8/32 | 6 | CORR.9-350Z-01A
| 7 | CORR.9-350Z-01B
R3/SW1/8/31 | 8 | CORR.9-350Z-03A
| 9 | CORR.9-350Z-03B
R3/SW1/8/30 | 10 | 9-338-01A
| 11 | 9-338-01B
| 12 | 9-338-01C
R2/SW1/2/29 | 13 | 9-338-03A
| 14 | 9-338-03B
| 15 | 9-338-03C
R2/SW1/4/41 | 16 | 9-338-05A
| 17 | 9-338-05B
| 18 | 9-338-05C
| 19 | 9-338-05D
R2/SW1/2/28 | 20 | 9-516-13A
R2/SW1/2/27 | 21 | 9-338-07A
| 22 | 9-338-07B
| 23 | 9-338-07C
R2/SW1/2/26 | 24 | 9-338-09A
| 25 | 9-338-09B
R3/SW1/8/29 | 26 | 9-336-01A
| 27 | 9-336-01B
R3/SW1/8/28 | 28 | 9-336-03A
| 29 | 9-336-03B
R3/SW1/8/27 | 30 | 9-336-05A
| 31 | 9-336-05B
R3/SW1/8/26 | 32 | 9-336-07A
| 33 | 9-336-07B
| 34 | 9-336-07C
R3/SW1/8/25 | 35 | CORR.9-340Z-01A
R3/SW1/7/48 | 36 | CORR.9-320Z-01A
| 37 | CORR.9-320Z-01B
R2/SW1/2/25 | 38 | CORR.9-320Z-03A
| 39 | CORR.9-320Z-03B
R2/SW1/2/11 | 40 | CORR.9-320Z-05A
| 41 | CORR.9-320Z-05B
R2/SW1/2/10 | 42 | 9-332-01A
| 43 | 9-332-01B
| 44 | 9-332-01C
| 45 | 9-332-01D
R2/SW1/2/9 | 46 | 9-332-03A
| 47 | 9-332-03B
| 48 | 9-332-03C
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-G | R2-DATA-PP-G | TERMINATED | PLATED | TESTED | NOTES
R3/SW1/7/47 | 1 | 9-332-05A |  |  |  |  | 9-334C
| 2 | 9-332-05B
| 3 | 9-332-05C
R3/SW1/7/46 | 4 | 9-332-07A
| 5 | 9-332-07B
| 6 | 9-332-07C
R3/SW1/7/45 | 7 | 9-332-09A
| 8 | 9-332-09B
| 9 | 9-332-09C
R3/SW1/7/44 | 10 | 9-332-11A
| 11 | 9-332-11B
R3/SW1/7/43 | 12 | 9-332-13A
R2/SW1/2/8 | 13 | 9-126-01A
| 14 | 9-126-01B
| 15 | 9-126-01C
R2/SW1/2/9 | 16 | 9-126-03A
| 17 | 9-126-03B
R2/SW1/2/6 | 18 | 9-128-01A
| 19 | 9-128-01B
| 20 | 9-128-01C
R2/SW1/2/5 | 21 | 9-128-03A
| 22 | 9-128-03B
R2/SW1/2/4 | 23 | CORR.9-340Z-03A
R2/SW1/2/3 | 24 | CORR.9-530Z-01A
| 25 | CORR.9-530Z-01B
R3/SW1/7/42 | 26 | CORR.9-530Z-03A
| 27 | CORR.9-530Z-03B
R3/SW1/7/41 | 28 | LOBBY-9-500Z-01A
| 29 | LOBBY-9-500Z-01B
R3/SW1/7/40 | 30 | 9-102-01A
| 31 | 9-102-01B
R3/SW1/7/39 | 32 | 9-516-01A
| 33 | 9-516-01B
| 34 | 9-516-01C
R3/SW1/7/38 | 35 | 9-516-03A
| 36 | 9-516-03B
| 37 | 9-516-03C
R1/SW1/2/2 | 38 | 9-516-05A
| 39 | 9-516-05B
| 40 | 9-516-05C
R2/SW1/2/1 | 41 | 9-516-07A
| 42 | 9-516-07B
R3/SW1/7/37 | 43 | 9-516-01A
| 44 | 9-516-01B
R3/SW1/7/36 | 45 | 9-516-09A
| 46 | 9-516-09B
| 47 | 9-516-09C
R2/SW1/4/40 | 48 | 9-516-11A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-H | R2-DATA-PP-H | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-516-11B |  |  |  |  | 9-334C
| 2 | 9-516-11C
| 3 | 9-516-11D
R3/SW1/7/35 | 4 | 9-516-15A
| 5 | 9-516-15B
| 6 | 9-516-15C
R3/SW1/7/34 | 7 | 9-516-17A
| 8 | 9-516-17B
| 9 | 9-516-17C
R3/SW1/7/33 | 10 | 9-516-21A
| 11 | 9-516-21B
| 12 | 9-516-21C
R3/SW1/7/32 | 13 | 9-516-19A
R3/SW1/7/31 | 14 | 9-512-07A
| 15 | 9-512-07B
| 16 | 9-512-07C
R3/SW1/7/30 | 17 | 9-512-09A
| 18 | 9-512-09B
| 19 | 9-512-09C
R3/SW1/7/29 | 20 | 9-512-11A
| 21 | 9-512-11B
| 22 | 9-512-11C
R3/SW1/7/28 | 23 | 9-512-13A
| 24 | 9-512-13B
| 25 | 9-512-13C
R3/SW1/7/27 | 26 | 9-512-03A
| 27 | 9-512-03B
R3/SW1/7/26 | 28 | 9-512-05A
| 29 | 9-512-05B
| 30 | 9-512-05C
R3/SW1/7/25 | 31 | 9-512-01A
| 32 | 9-512-01B
| 33 | 9-512-01C
R3/SW1/4/48 | 34 | CORR.9-510Z-01A
| 35 | CORR.9-510Z-01B
R3/SW1/4/47 | 36 | CORR.9-510Z-03A
| 37 | CORR.9-510Z-03B
R3/SW1/4/46 | 38 | 9-513-01A
| 39 | 9-513-01B
| 40 | 9-513-01C
R2/SW1/4/39 | 41 | 9-513-03A
| 42 | 9-513-03B
| 43 | 9-513-03C
| 44 | 9-513-03D
R3/SW1/4/45 | 45 | 9-513-05A
| 46 | 9-513-05B
| 47 | 9-513-05C
R3/SW1/4/44 | 48 | 9-513-07A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-I | R3-DATA-PP-A | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-513-07B |  |  |  |  | 9-334C
| 2 | 9-513-07C
| 3 | 9-513-07D
R3/SW1/8/24 | 4 | 9-513-09A
| 5 | 9-513-09B
| 6 | 9-513-09C
R3/SW1/8/23 | 7 | 9-513B-01A
| 8 | 9-513B-01B
| 9 | 9-513B-01C
R3/SW1/8/22 | 10 | 9-515-01A
| 11 | 9-515-01B
| 12 | 9-515-01C
R3/SW2/4/43 | 13 | 9-515-03A
| 14 | 9-515-03B
| 15 | 9-515-03C
| 16 | 9-515-03D
R3/SW1/8/48 | 17 | 9-515-05A
| 18 | 9-515-05B
| 19 | 9-515-05C
R3/SW1/8/47 | 20 | 9-515-07A
| 21 | 9-515-07B
| 22 | 9-515-07C
| 23 | 9-515-07D
R3/SW1/8/46 | 24 | 9-515-09A
| 25 | 9-515-09B
| 26 | 9-515-09C
R3/SW1/8/21 | 27 | 9-515B-01A
| 28 | 9-515B-01B
| 29 | 9-515B-01C
R3/SW1/8/20 | 30 | 9-517-01A
| 31 | 9-517-01B
| 32 | 9-517-01C
R3/SW2/8/14 | 33 | 9-517-03A
| 34 | 9-517-03B
| 35 | 9-517-03C
| 36 | 9-517-03D
R3/SW1/8/45 | 37 | 9-517-05A
| 38 | 9-517-05B
| 39 | 9-517-05C
R3/SW1/8/44 | 40 | 9-517-07A
| 41 | 9-517-07B
| 42 | 9-517-07C
| 43 | 9-517-07D
R3/SW1/8/43 | 44 | 9-517-09A
| 45 | 9-517-09B
| 46 | 9-517-09C
R3/SW1/8/42 | 47 | 9-517B-01A
| 48 | 9-517B-01B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-J | R3-DATA-PP-B | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-517B-01C |  |  |  |  | 9-334C
R3/SW1/8/19 | 2 | CORR.9010Z-01A
R3/SW1/8/18 | 3 | 9-101-01A
| 4 | 9-101-01B
| 5 | 9-101-01C
R3/SW2/8/13 | 6 | 9-101-03A
| 7 | 9-101-03B
| 8 | 9-101-03C
| 9 | 9-101-03D
R3/SW1/8/17 | 10 | 9-101-05A
| 11 | 9-101-05B
| 12 | 9-101-05C
R3/SW1/8/41 | 13 | 9-101-07A
| 14 | 9-101-07B
| 15 | 9-101-07C
| 16 | 9-101-07D
R3/SW1/8/40 | 17 | 9-101-09A
R3/SW1/8/39 | 18 | 9-101-11A
| 19 | 9-101-11B
| 20 | 9-101-11C
R3/SW1/8/38 | 21 | 9-101B-13A
| 22 | 9-101B-13B
| 23 | 9-101B-13C
R3/SW1/8/37 | 24 | 9-103-01A
| 25 | 9-103-01B
| 26 | 9-103-01C
R3/SW2/8/12 | 27 | 9-103-03A
| 28 | 9-103-03B
| 29 | 9-103-03C
| 30 | 9-103-03D
R3/SW1/8/16 | 31 | 9-103-05A
| 32 | 9-103-05B
| 33 | 9-103-05C
R3/SW1/8/15 | 34 | 9-103-07A
| 35 | 9-103-07B
| 36 | 9-103-07C
| 37 | 9-103-07D
R3/SW1/8/36 | 38 | 9-103-09A
| 39 | 9-103-09B
| 40 | 9-103-09C
R3/SW1/8/35 | 41 | 9-103B-11A
| 42 | 9-103B-11B
| 43 | 9-103B-11C
| 44 | 9-334C-01A
| 45 | 9-334C-01B
R3/SW1/8/34 | 46 | 9-334C-03A
| 47 | 9-334C-03B
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-BMS-PP-C | TERINATED | PLATED | TESTED | NOTES
| 1 | CORR.9-510Z-01A |  |  |  |  | 9-334C
| 2 | CORR.9-510Z-01B
| 3 | CORR.9-320Z-01A
| 4 | CORR.9-320Z-01B
| 5 | 9-334C-01A
| 6 | 9-334C-01B
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-CAM-PP-D | TERINATED | PLATED | TESTED | NOTES
| 1 | CORR.9-310Z-01A |  |  |  |  | 9-334C
| 2 | 9-138-01A
| 3 | 9-108-01A
| 4 | 9-106-01-01A
| 5 | 9-011A-01A
| 6 | LOBBY-9-000Z-01A
| 7 | LOBBY-9-500Z-01A
| 8 | STAIR-1-01A
| 9 | CORR.9-530Z-01A
| 10 | CORR.9-520Z-01A
| 11 | CORR.9-320Z-01A
| 12 | 9-334C-01A
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-WAP-PP-E | TERINATED | PLATED | TESTED | NOTES
R2/SW1/1/48 | 1 | CORR.9-130Z-01A |  |  |  |  | 9-334C
| 2 | CORR.9-130Z-01B
R2/SW1/1/47 | 3 | 9-138-01A
| 4 | 9-138-01B
R2/SW1/1/46 | 5 | 9-002A-01A
| 6 | 9-002A-01B
R2/SW1/1/45 | 7 | 9-011A-01A
| 8 | 9-011A-01B
R2/SW1/1/44 | 9 | CORR.9-510Z-01A
| 10 | CORR.9-510Z-01B
R2/SW1/1/43 | 11 | 9-513-01A
| 12 | 9-513-01B
R2/SW1/1/42 | 13 | 9-512-01A
| 14 | 9-512-01B
R2/SW1/1/41 | 15 | CORR.9-530Z-01A
| 16 | CORR.9-530Z-01B
R2/SW1/1/40 | 17 | CORR.9-350Z-01A
| 18 | CORR.9-350Z-01B
R2/SW1/1/39 | 19 | 9-323-01A
| 20 | 9-323-01B
R2/SW1/1/38 | 21 | 9-317-01A
| 22 | 9-317-01B
R2/SW1/1/37 | 23 | 9-315-01A
| 24 | 9-315-01B
R2/SW1/1/36 | 25 | 9-332-01A
| 26 | 9-332-01B
R2/SW1/1/35 | 27 | 9-128-01A
| 28 | 9-128-01B
R2/SW1/1/34 | 29 | CORR.9-340Z-01A
| 30 | CORR.9-340Z-01B
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
TEC
HOME RUNS PULLED
GE
HOME RUNS PULLED
FIELD END PULLED
MOOD
HOME RUNS PULLED
PTP
95% PULLED
9th Floor IDF (438C West)
IDF BUILDOUT
NOTES
RACKS MOUNTED
CABLE TRAY INSTALLED
| DATA TERMINATED |  | PULLED
BONDING
| FIBER TERMINATED |  | PRIMARY | SECONDARY
| FIBER TESTED |  | PRIMARY | SECONDARY
25 PAIR TERMINATED
25 PAIR TESTED
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R2-DATA-PP-A | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/5/1 | 1 | 9-511-01A
| 2 | 9-511-01B
| 3 | 9-511-01C
R2/SW1/7/1 | 4 | 9-511-03A
| 5 | 9-511-03B
| 6 | 9-511-03C
| 7 | 9-511-03D
R2/SW1/5/2 | 8 | 9-511-05A
| 9 | 9-511-05B
| 10 | 9-511-05C
R2/SW1/5/3 | 11 | 9-511-07A
| 12 | 9-511-07B
| 13 | 9-511-07C
| 14 | 9-511-07D
R2/SW1/5/25 | 15 | 9-511-09A
| 16 | 9-511-09B
| 17 | 9-511-09C
R2/SW1/5/26 | 18 | 9-511B-01A
| 19 | 9-511B-01B
| 20 | 9-511B-01C
R2/SW1/5/27 | 21 | 9-509-01A
| 22 | 9-509-01B
| 23 | 9-509-01C
R2/SW1/7/46 | 24 | 9-509-03A
| 25 | 9-509-03B
| 26 | 9-509-03C
| 27 | 9-509-03D
R2/SW1/5/4 | 28 | 9-509-05A
| 29 | 9-509-05B
| 30 | 9-509-05C
R2/SW1/5/5 | 31 | 9-509-07A
R2/SW1/5/6 | 32 | 9-509-09A
| 33 | 9-509-09B
| 34 | 9-509-09C
| 35 | 9-509-09D
R2/SW1/5/7 | 36 | 9-509-11A
| 37 | 9-509-11B
| 38 | 9-509-11C
R2/SW1/5/28 | 39 | 9-509B-01A
| 40 | 9-509B-01B
| 41 | 9-509B-01C
R2/SW1/5/29 | 42 | 9-507-01A
| 43 | 9-507-01B
| 44 | 9-507-01C
R2/SW1/7/45 | 45 | 9-507-03A
| 46 | 9-507-03B
| 47 | 9-507-03C
| 48 | 9-507-03D
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-B | R2-DATA-PP-B | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/5/8 | 1 | 9-507-05A |  |  |  |  | 9-438C
| 2 | 9-507-05B
| 3 | 9-507-05C
R2/SW1/5/9 | 4 | 9-507-07A
| 5 | 9-507-07B
| 6 | 9-507-07C
| 7 | 9-507-07D
R2/SW1/5/10 | 8 | 9-507-09A
| 9 | 9-507-09B
| 10 | 9-507-09C
R2/SW1/5/11 | 11 | 9-507B-01A
| 12 | 9-507B-01B
| 13 | 9-507B-01C
R2/SW1/5/30 | 14 | 9-505-01A
| 15 | 9-505-01B
| 16 | 9-505-01C
R2/SW1/7/44 | 17 | 9-505-03A
| 18 | 9-505-03B
| 19 | 9-505-03C
| 20 | 9-505-03D
R2/SW1/5/31 | 21 | 9-505-05A
| 22 | 9-505-05B
| 23 | 9-505-05C
R2/SW1/5/32 | 24 | 9-505-07A
| 25 | 9-505-07B
| 26 | 9-505-07C
| 27 | 9-505-07D
R2/SW1/5/12 | 28 | 9-505-09A
| 29 | 9-505-09B
| 30 | 9-505-09C
R2/SW1/5/13 | 31 | 9-505B-01A
| 32 | 9-505B-01B
| 33 | 9-505B-01C
R2/SW1/5/14 | 34 | 9-503-01A
| 35 | 9-503-01B
| 36 | 9-503-01C
R2/SW1/7/43 | 37 | 9-503-03A
| 38 | 9-503-03B
| 39 | 9-503-03C
| 40 | 9-503-03D
R2/SW1/5/33 | 41 | 9-503-05A
| 42 | 9-503-05B
| 43 | 9-503-05C
R2/SW1/5/34 | 44 | 9-503-07A
| 45 | 9-503-07B
| 46 | 9-503-07C
| 47 | 9-503-07D
R2/SW1/5/35 | 48 | 9-503-09A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-C | R2-DATA-PP-C | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-503-09B |  |  |  |  | 9-438C
| 2 | 9-503-09C
R2/SW1/5/15 | 3 | 9-503B-01A
| 4 | 9-503B-01B
| 5 | 9-503B-01C
R2/SW1/5/16 | 6 | 9-501-01A
| 7 | 9-501-01B
| 8 | 9-501-01C
R2/SW1/7/2 | 9 | 9-501-03A
| 10 | 9-501-03B
| 11 | 9-501-03C
| 12 | 9-501-03D
R2/SW1/5/36 | 13 | 9-501-05A
| 14 | 9-501-05B
| 15 | 9-501-05C
R2/SW1/5/37 | 16 | 9-501-07A
| 17 | 9-501-07B
| 18 | 9-501-07C
| 19 | 9-501-07D
R2/SW1/5/38 | 20 | 9-501-09A
| 21 | 9-501-09B
| 22 | 9-501-09C
R2/SW1/5/39 | 23 | 9-501B-01A
| 24 | 9-501B-01B
| 25 | 9-501B-01C
R2/SW1/5/17 | 26 | 9-501A-01A
| 27 | 9-501A-01B
| 28 | 9-501A-01C
R2/SW1/5/18 | 29 | 9-417-01A
| 30 | 9-417-01B
R2/SW1/5/19 | 31 | 9-417-03A
| 32 | 9-417-03B
R2/SW1/5/20 | 33 | 9-417-05A
| 34 | 9-417-05B
| 35 | 9-417-05C
R2/SW1/5/21 | 36 | 9-417-07A
| 37 | 9-417-07B
| 38 | 9-417-07C
R2/SW1/5/40 | 39 | 9-417-09A
| 40 | 9-417-09B
| 41 | 9-417-09C
R2/SW1/5/41 | 42 | 9-417-11A
| 43 | 9-417-11B
R2/SW1/5/42 | 44 | 9-417-13A
| 45 | 9-417-13B
R2/SW1/5/43 | 46 | CORR.9-510Z-01A
R2/SW1/5/44 | 47 | 9-413-01A
| 48 | 9-413-01B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-D | R2-DATA-PP-D | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-413-01C |  |  |  |  | 9-438C
R2/SW1/7/3 | 2 | 9-413-03A
| 3 | 9-413-03B
| 4 | 9-413-03C
| 5 | 9-413-03D
R2/SW1/5/22 | 6 | 9-413-05A
| 7 | 9-413-05B
| 8 | 9-413-05C
R2/SW1/5/23 | 9 | 9-413-07A
| 10 | 9-413-07B
| 11 | 9-413-07C
| 12 | 9-413-07D
R2/SW1/5/45 | 13 | 9-413-09A
| 14 | 9-413-09B
| 15 | 9-413-09C
R2/SW1/5/46 | 16 | 9-413B-01A
| 17 | 9-413B-01B
| 18 | 9-413B-01C
R2/SW1/5/47 | 19 | 9-411-01A
| 20 | 9-411-01B
| 21 | 9-411-01C
R2/SW1/7/42 | 22 | 9-411-03A
| 23 | 9-411-03B
| 24 | 9-411-03C
| 25 | 9-411-03D
R2/SW1/5/24 | 26 | 9-411-05A
| 27 | 9-411-05B
| 28 | 9-411-05C
R2/SW1/6/1 | 29 | 9-411-07A
| 30 | 9-411-07B
| 31 | 9-411-07C
| 32 | 9-411-07D
R2/SW1/6/2 | 33 | 9-411-09A
| 34 | 9-411-09B
| 35 | 9-411-09C
R2/SW1/6/3 | 36 | 9-411B-01A
| 37 | 9-411B-01B
| 38 | 9-411B-01C
R2/SW1/5/48 | 39 | 9-409-01A
| 40 | 9-409-01B
| 41 | 9-409-01C
R2/SW1/7/41 | 42 | 9-409-03A
| 43 | 9-409-03B
| 44 | 9-409-03C
| 45 | 9-409-03D
R2/SW1/6/25 | 46 | 9-409-05A
| 47 | 9-409-05B
| 48 | 9-409-05C
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-E | R2-DATA-PP-E | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/6/4 | 1 | 9-409-07A |  |  |  |  | 9-438C
| 2 | 9-409-07B
| 3 | 9-409-07C
| 4 | 9-409-07D
R2/SW1/6/5 | 5 | 9-409-09A
| 6 | 9-409-09B
| 7 | 9-409-09C
R2/SW1/6/6 | 8 | 9-409B-01A
| 9 | 9-409B-01B
| 10 | 9-409B-01C
R2/SW1/6/7 | 11 | 9-407-01A
| 12 | 9-407-01B
| 13 | 9-407-01C
R2/SW1/7/40 | 14 | 9-407-03A
| 15 | 9-407-03B
| 16 | 9-407-03C
| 17 | 9-407-03D
R2/SW1/6/26 | 18 | 9-407-05A
| 19 | 9-407-05B
| 20 | 9-407-05C
R2/SW1/6/27 | 21 | 9-407-07A
| 22 | 9-407-07B
| 23 | 9-407-07C
| 24 | 9-407-07D
R2/SW1/6/8 | 25 | 9-407-09A
| 26 | 9-407-09B
| 27 | 9-407-09C
R2/SW1/6/9 | 28 | 9-407B-01A
| 29 | 9-407B-01B
| 30 | 9-407B-01C
R2/SW1/6/10 | 31 | 9-405-01A
| 32 | 9-405-01B
| 33 | 9-405-01C
R2/SW1/7/4 | 34 | 9-405-03A
| 35 | 9-405-03B
| 36 | 9-405-03C
| 37 | 9-405-03D
R2/SW1/6/28 | 38 | 9-405-05A
| 39 | 9-405-05B
| 40 | 9-405-05C
R2/SW1/6/29 | 41 | 9-405-07A
| 42 | 9-405-07B
| 43 | 9-405-07C
| 44 | 9-405-07D
R2/SW1/6/30 | 45 | 9-405-09A
| 46 | 9-405-09B
| 47 | 9-405-09C
R2/SW1/6/31 | 48 | 9-405B-01A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-F | R2-DATA-PP-F | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-405B-01B |  |  |  |  | 9-438C
| 2 | 9-405B-01C
R2/SW1/6/11 | 3 | 9-403-01A
| 4 | 9-403-01B
| 5 | 9-403-01C
R2/SW1/7/5 | 6 | 9-403-03A
| 7 | 9-403-03B
| 8 | 9-403-03C
| 9 | 9-403-03D
R2/SW1/6/12 | 10 | 9-403-05A
| 11 | 9-403-05B
| 12 | 9-403-05C
R2/SW1/6/32 | 13 | 9-403-07A
| 14 | 9-403-07B
| 15 | 9-403-07C
| 16 | 9-403-07D
R2/SW1/6/33 | 17 | 9-403-09A
| 18 | 9-403-09B
| 19 | 9-403-09C
R2/SW1/6/34 | 20 | 9-403B-01A
| 21 | 9-403B-01B
| 22 | 9-403B-01C
R2/SW1/6/35 | 23 | 9-401-01A
| 24 | 9-401-01B
| 25 | 9-401-01C
R2/SW1/7/6 | 26 | 9-401-03A
| 27 | 9-401-03B
| 28 | 9-401-03C
| 29 | 9-401-03D
R2/SW1/6/13 | 30 | 9-401-05A
| 31 | 9-401-05B
| 32 | 9-401-05C
R2/SW1/6/14 | 33 | 9-401-07A
| 34 | 9-401-07B
| 35 | 9-401-07C
| 36 | 9-401-07D
R2/SW1/6/36 | 37 | 9-401-09A
| 38 | 9-401-09B
| 39 | 9-401-09C
R2/SW1/6/37 | 40 | 9-401B-01A
| 41 | 9-401B-01B
| 42 | 9-401B-01C
R2/SW1/6/38 | 43 | 9-333-01A
| 44 | 9-333-01B
| 45 | 9-333-01C
R2/SW1/7/39 | 46 | 9-333-03A
| 47 | 9-333-03B
| 48 | 9-333-03C
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-G | R2-DATA-PP-G | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-333-03D |  |  |  |  | 9-438C
R2/SW1/6/15 | 2 | 9-333-05A
| 3 | 9-333-05B
| 4 | 9-333-05C
R2/SW1/6/16 | 5 | 9-333-07A
| 6 | 9-333-07B
| 7 | 9-333-07C
| 8 | 9-333-07D
R2/SW1/6/17 | 9 | 9-333-09A
| 10 | 9-333-09B
| 11 | 9-333-09C
R2/SW1/6/18 | 12 | 9-333B-01A
| 13 | 9-333B-01B
| 14 | 9-333B-01C
R2/SW1/6/39 | 15 | 9-331-01A
| 16 | 9-331-01B
| 17 | 9-331-01C
R2/SW1/7/38 | 18 | 9-331-03A
| 19 | 9-331-03B
| 20 | 9-331-03C
| 21 | 9-331-03D
R2/SW1/6/40 | 22 | 9-331-05A
| 23 | 9-331-05B
| 24 | 9-331-05C
R2/SW1/6/19 | 25 | 9-331-07A
| 26 | 9-331-07B
| 27 | 9-331-07C
| 28 | 9-331-07D
R2/SW1/6/30 | 29 | 9-331-09A
| 30 | 9-331-09B
| 31 | 9-331-09C
R2/SW1/6/21 | 32 | 9-331B-01A
| 33 | 9-331B-01B
| 34 | 9-331B-01C
R2/SW1/6/22 | 35 | 9-329-01A
| 36 | 9-329-01B
| 37 | 9-329-01C
R2/SW1/7/37 | 38 | 9-329-03A
| 39 | 9-329-03B
| 40 | 9-329-03C
| 41 | 9-329-03D
R2/SW1/6/41 | 42 | 9-329-05A
| 43 | 9-329-05B
| 44 | 9-329-05C
R2/SW1/6/42 | 45 | 9-329-07A
| 46 | 9-329-07B
| 47 | 9-329-07C
| 48 | 9-329-07D
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-H | R2-DATA-PP-H | TERMINATED | PLATED | TESTED | NOTES
R2/SW1/6/23 | 1 | 9-329-09A |  |  |  |  | 9-438C
| 2 | 9-329-09B
| 3 | 9-329-09C
R2/SW1/6/24 | 4 | 9-329B-01A
| 5 | 9-329B-01B
| 6 | 9-329B-01C
R2/SW1/1/48 | 7 | 9-327-01A
| 8 | 9-327-01B
| 9 | 9-327-01C
R2/SW1/7/7 | 10 | 9-327-03A
| 11 | 9-327-03B
| 12 | 9-327-03C
| 13 | 9-327-03D
R2/SW1/6/43 | 14 | 9-327-05A
| 15 | 9-327-05B
| 16 | 9-327-05C
R2/SW1/6/44 | 17 | 9-327-07A
| 18 | 9-327-07B
| 19 | 9-327-07C
| 20 | 9-327-07D
R2/SW1/6/45 | 21 | 9-327-09A
| 22 | 9-327-09B
| 23 | 9-327-09C
R2/SW1/6/46 | 24 | 9-327B-01A
| 25 | 9-327B-01B
| 26 | 9-327B-01C
R2/SW1/1/47 | 27 | CORR.9-320Z-01A
| 28 | CORR.9-320Z-01B
R2/SW1/1/46 | 29 | 9-348-01A
| 30 | 9-348-01B
R2/SW1/1/45 | 31 | CORR.9-420Z-01A
| 32 | CORR.9-420Z-01B
R2/SW1/1/44 | 33 | 9-354-01A
| 34 | 9-354-01B
| 35 | 9-354-01C
R2/SW1/1/43 | 36 | 9-354-03A
| 37 | 9-354-03B
R2/SW1/6/47 | 38 | 9-356-01A
R2/SW1/6/48 | 39 | 9-358-01A
| 40 | 9-358-01B
| 41 | 9-358-01C
R2/SW1/1/42 | 42 | 9-358-03A
| 43 | 9-358-03B
| 44 | 9-358-03C
R2/SW1/1/41 | 45 | 9-358-05A
| 46 | 9-358-05B
| 47 | 9-358-05C
R2/SW1/1/40 | 48 | 9-362-01A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-I | R3-DATA-PP-A | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-362-01B |  |  |  |  | 9-438C
| 2 | 9-362-01C
R3/SW1/5/1 | 3 | 9-320A-01A
| 4 | 9-320A-01B
| 5 | 9-320A-01C
R3/SW1/5/2 | 6 | 9-364-01A
| 7 | 9-364-01B
| 8 | 9-364-01C
R2/SW1/7/48 | 9 | 9-364-03A
| 10 | 9-364-03B
| 11 | 9-364-03C
| 12 | 9-364-03D
R3/SW1/5/48 | 13 | 9-364-05A
| 14 | 9-364-05B
| 15 | 9-364-05C
R3/SW1/5/47 | 16 | 9-364-07A
R3/SW1/5/46 | 17 | 9-364-09A
| 18 | 9-364-09B
| 19 | 9-364-09C
R3/SW1/5/45 | 20 | CORR.9-410Z-01A
| 21 | CORR.9-410Z-01B
R3/SW1/5/44 | 22 | CORR.9-410Z-03A
| 23 | CORR.9-410Z-03B
R3/SW1/5/43 | 24 | 9-402-01A
| 25 | 9-402-01B
R3/SW1/5/3 | 26 | 9-402-05A
| 27 | 9-402-05B
| 28 | 9-402-05C
R2/SW1/7/47 | 29 | 9-402-03A
| 30 | 9-402-03B
| 31 | 9-402-03C
| 32 | 9-402-03D
R3/SW1/5/4 | 33 | 9-402-07A
| 34 | 9-402-07B
| 35 | 9-402-07C
R3/SW1/5/5 | 36 | 9-402-09A
| 37 | 9-402-09B
| 38 | 9-402-09C
R3/SW1/5/42 | 39 | 9-402F-01A
| 40 | 9-402F-01B
| 41 | 9-402F-01C
R3/SW1/5/41 | 42 | 9-402F-03A
| 43 | 9-402F-03B
| 44 | 9-402F-03C
R3/SW1/5/40 | 45 | 9-436-01A
| 46 | 9-436-01B
| 47 | 9-436-01C
R3/SW1/5/39 | 48 | 9-436-03A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-J | R3-DATA-PP-B | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-436-03B |  |  |  |  | 9-438C
| 2 | 9-436-03C
R3/SW1/5/6 | 3 | 9-418-01A
| 4 | 9-418-01B
R3/SW1/5/7 | 5 | 9-414-01A
| 6 | 9-414-01B
| 7 | 9-414-01C
R3/SW1/5/8 | 8 | 9-414-03A
| 9 | 9-414-03B
| 10 | 9-414-03C
R3/SW1/5/9 | 11 | 9-414-05A
| 12 | 9-414-05B
| 13 | 9-414-05C
R3/SW1/5/38 | 14 | 9-412-01A
| 15 | 9-412-01B
| 16 | 9-412-01C
R3/SW1/5/37 | 17 | 9-412-03A
| 18 | 9-412-03B
R3/SW1/5/36 | 19 | CORR.9-510Z-01A
| 20 | CORR.9-510Z-01B
R3/SW1/5/35 | 21 | 9-408-01A
| 22 | 9-408-01B
| 23 | 9-408-01C
R3/SW1/5/34 | 24 | 9-406-01A
| 25 | 9-406-01B
| 26 | 9-406-01C
R3/SW1/5/10 | 27 | 9-406-03A
| 28 | 9-406-03B
| 29 | 9-406-03C
R3/SW1/5/11 | 30 | 9-406-05A
| 31 | 9-406-05B
| 32 | 9-406-05C
R3/SW1/5/12 | 33 | 9-406-07A
| 34 | 9-406-07B
| 35 | 9-406-07C
R3/SW1/5/13 | 36 | 9-406-09A
| 37 | 9-406-09B
| 38 | 9-406-09C
R3/SW1/5/33 | 39 | 9-406-11A
| 40 | 9-406-11B
| 41 | 9-406-11C
R3/SW1/5/32 | 42 | 9-406-13A
| 43 | 9-406-13B
| 44 | 9-406-13C
R3/SW1/5/31 | 45 | 9-406-15A
| 46 | 9-406-15B
| 47 | 9-406-15C
R3/SW1/5/30 | 48 | 9-406-17A
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-K | R3-DATA-PP-C | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-406-17B |  |  |  |  | 9-438C
R3/SW1/5/14 | 2 | 9-406-19A
| 3 | 9-406-19B
| 4 | 9-406-19C
R3/SW1/5/15 | 5 | 9-406-21A
| 6 | 9-406-21B
| 7 | 9-406-21C
R3/SW1/5/16 | 8 | 9-406-23A
| 9 | 9-406-23B
| 10 | 9-406-23C
R3/SW1/5/17 | 11 | 9-406-25A
| 12 | 9-406-25B
| 13 | 9-406-25C
R3/SW1/5/29 | 14 | 9-406-27A
| 15 | 9-406-27B
R3/SW1/5/28 | 16 | 9-406-29A
| 17 | 9-406-29B
| 18 | 9-406-29C
R3/SW1/5/27 | 19 | 9-406-31A
| 20 | 9-406-31B
| 21 | 9-406-31C
R3/SW1/5/26 | 22 | 9-406-33A
| 23 | 9-406-33B
| 24 | 9-406-33C
R3/SW1/5/18 | 25 | 9-406-35A
| 26 | 9-406-35B
| 27 | 9-406-35C
R3/SW1/5/19 | 28 | 9-402-11A
| 29 | 9-402-11B
| 30 | 9-402-11C
R3/SW1/5/20 | 31 | 9-402-13A
| 32 | 9-402-13B
| 33 | 9-402-13C
R3/SW1/5/21 | 34 | 9-402-15A
| 35 | 9-402-15B
| 36 | 9-402-15C
R3/SW1/5/25 | 37 | 9-402-17A
| 38 | 9-402-17B
| 39 | 9-402-17C
R3/SW1/6/48 | 40 | 9-402-19A
| 41 | 9-402-19B
| 42 | 9-402-19C
| 43 | 9-438C-01A
| 44 | 9-438C-01B
R3/SW1/6/47 | 45 | 9-438C-03A
| 46 | 9-438C-03B
R3/SW1/6/46 | 47 | 9-402A-01A
| 48 | 9-402A-01B
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-L | R3-DATA-PP-D | TERMINATED | PLATED | TESTED | NOTES
| 1 | 9-402A-01C |  |  |  |  | 9-438C
R3/SW1/5/22 | 2 | 9-402B-01A
| 3 | 9-402B-01B
| 4 | 9-402B-01C
R3/SW1/5/23 | 5 | 9-402D-01A
| 6 | 9-402D-01B
| 7 | 9-402D-01C
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-BMS-PP-C | TERINATED | PLATED | TESTED | NOTES
| 1 | 9-503-01A |  |  |  |  | 9-438C
| 2 | 9-503-01B
| 3 | CORR.9-410Z-01A
| 4 | CORR.9-410Z-01B
| 5 | CORR.9-410Z-03A
| 6 | CORR.9-410Z-03B
| 7 | 9-407-01A
| 8 | 9-407-01B
| 9 | CORR.9-320Z-01A
| 10 | CORR.9-320Z-01B
| 11 | 9-432E-01A
| 12 | 9-432E-01B
| 13 | 9-432E-03A
| 14 | 9-432E-03B
| 15 | 9-432E-05A
| 16 | 9-432E-05B
| 17 | 9-432E-07A
| 18 | 9-432E-07B
| 19 | 9-432E-09A
| 20 | 9-432E-09B
| 21 | 9-432E-11A
| 22 | 9-432E-11B
| 23 | CORR.9-420Z-01A
| 24 | CORR.9-420Z-01B
| 25 | 9-438C-01A
| 26 | 9-438C-01B
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-CAM-PP-D | TERINATED | PLATED | TESTED | NOTES
| 1 | CORR.9-510Z-01A |  |  |  |  | 9-438C
| 2 | 9-414-01A
| 3 | CORR.9-510Z-03A
| 4 | CORR.9-410Z-01A
| 5 | CORR.9-410Z-03A
| 6 | STAIR-9-005V-01A
| 7 | CORR.9-410Z-05A
| 8 | 9-358-01A
| 9 | 9-438C-01A
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
RACK/SWITCH/BLADE/PORT
ACTIVATIONS | PP-A | R1-WAP-PP-E | TERINATED | PLATED | TESTED | NOTES
R2/SW1/1/1 | 1 | 9-505-01A |  |  |  |  | 9-438C
| 2 | 9-505-01B
R2/SW1/1/2 | 3 | 9-406-01A
| 4 | 9-406-01B
R2/SW1/1/3 | 5 | 9-510Z-01A
| 6 | 9-510Z-01B
R2/SW1/1/4 | 7 | 9-417-01A
| 8 | 9-417-01B
R2/SW1/1/5 | 9 | 9-402Z-01A
| 10 | 9-402Z-01B
R2/SW1/1/6 | 11 | 9-411-01A
| 12 | 9-411-01B
R2/SW1/1/7 | 13 | CORR.9-410Z-01A
| 14 | CORR.9-410Z-01B
R2/SW1/1/8 | 15 | 9-405-01A
| 16 | 9-405-01B
R2/SW1/1/9 | 17 | CORR.9-410Z-03A
| 18 | CORR.9-410Z-03B
R2/SW1/1/10 | 19 | 9-333-01A
| 20 | 9-333-01B
R2/SW1/1/11 | 21 | 9-358-01A
| 22 | 9-358-01B
R2/SW1/1/12 | 23 | 9-329-01A
| 24 | 9-329-01B
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48